## README
NAM — EXPERIMENTAL RAMAN DATA
SAMPLE
Compound | N-Acetylmuramic acid (NAM / MurNAc)
Supplier / catalogue | Sigma-Aldrich (Merck), A3007-100MG
CAS / lot | 10597-89-4 / BCCK5768
Formula / MW | C11H19NO8 / 293.27 g/mol (anhydrous)
Purity | >=98% (TLC)
Preparation | Powder placed directly on clean glass slide; used as received, no purification
Anomeric note | Material is an alpha/beta anomeric mixture. The DFT model is the beta anomer only.
INSTRUMENT
System | B&W Tek i-Raman Plus, BWS465-785H (spectrometer BTC665N-785H-SYS)
Microscope / objective | BAC102-785E Raman microscope, 20x Plan
Laser | 785 nm (784.92 nm reported), Class 3B, 340 mW exiting probe (nominal)
Detector | 2048-pixel TE-cooled CCD, sensor at -2 C
Spectral resolution | < 3.5 cm-1 (manufacturer specification)
Spectral sampling | 1.76 cm-1/pixel at 400 cm-1 --> 1.43 cm-1/pixel at 1800 cm-1
Power at sample | NOT MEASURED - requires power meter at objective focal plane
PROCESSING PIPELINE (applied identically to every spectrum)
1. Extract | Raman Shift and Dark Subtracted #1 columns
2. Interpolate | Uniform 1 cm-1 grid, 400-1800 cm-1
3. Baseline | ALS baseline correction (lambda = 1e5, p = 0.001, 10 iterations)
4. Smooth | Savitzky-Golay (window 11, polynomial order 3)
5. Normalise | Min-max normalisation
6. Reference build | Mean of replicate sets R2 + R4 (n = 22 independent measurements)
7. Peak detection | Validated against local noise on two independent criteria
CONTENTS OF THIS WORKBOOK
Tab 'Peak_List' | 41 reproducible bands detected in 400-1800 cm-1 (29 high confidence, 12 tentative)
Tab 'Reference_Spectrum' | Averaged experimental spectrum, 1 cm-1 grid, with replicate standard deviation
COLUMN DEFINITIONS (Peak_List)
Relative intensity | Peak height normalised to the strongest band (930 cm-1 = 1.000)
Prominence SNR | Peak prominence divided by local noise estimate
Height SNR | Peak height above local baseline divided by local noise estimate
Detection frequency | Fraction of the 22 replicate spectra in which the band was detected
Confidence class | 'high' or 'tentative', assigned from the two SNR criteria above
PROVENANCE
Source archive | NAM_Raman_Archive / 03_Processed_Results
Source files | Experimental_peak_list.csv, Experimental_reference_spectrum.csv
Note | No values in this workbook have been altered from the source archive.

## Peak_List
Experimental NAM Raman peaks — 400-1800 cm-1, mean of 22 replicate measurements
Peak # | Raman shift (cm-1) | Relative intensity | Prominence SNR | Height SNR | Detection frequency (0-1) | Confidence class
1 | 458 | 0.6259 | 26.3546 | 23.5086 | 1 | high
2 | 488 | 0.4617 | 15.9342 | 12.8373 | 1 | high
3 | 523 | 0.2729 | 5.5656 | 5.3169 | 1 | high
4 | 542 | 0.8018 | 27.4433 | 23.9071 | 1 | high
5 | 585 | 0.3448 | 10.8869 | 8.8504 | 1 | high
6 | 616 | 0.1881 | 10.9935 | 6.2362 | 0.925 | high
7 | 646 | 0.2641 | 27.9144 | 21.828 | 1 | high
8 | 677 | 0.1319 | 7.6484 | 4.8805 | 0.975 | high
9 | 704 | 0.2519 | 24.445 | 19.882 | 1 | high
10 | 745 | 0.1857 | 17.6999 | 14.8007 | 0.9 | high
11 | 772 | 0.1016 | 10.6341 | 6.6154 | 1 | high
12 | 831 | 0.6511 | 18.8345 | 17.8838 | 1 | high
13 | 872 | 0.9218 | 27.6726 | 24.6719 | 1 | high
14 | 930 | 1 | 22.0297 | 18.9073 | 1 | high
15 | 956 | 0.9576 | 19.4877 | 18.973 | 1 | high
16 | 1008 | 0.3051 | 1.7654 | 3.6585 | 0.95 | tentative
17 | 1024 | 0.7534 | 37.8489 | 26.9325 | 1 | high
18 | 1044 | 0.2615 | 3.7246 | 0.7291 | 1 | tentative
19 | 1059 | 0.3322 | 7.8501 | 3.2851 | 1 | high
20 | 1085 | 0.3187 | 9.2138 | 2.0271 | 1 | tentative
21 | 1113 | 0.3821 | 1.8523 | 4.9639 | 0.975 | tentative
22 | 1128 | 0.613 | 27.7628 | 17.5874 | 1 | high
23 | 1157 | 0.4003 | 14.3966 | 12.6142 | 1 | high
24 | 1190 | 0.1685 | 12.6552 | 6.1764 | 0.975 | high
25 | 1208 | 0.0833 | 3.5584 | -0.4155 | 0.875 | tentative
26 | 1249 | 0.3244 | 39.9979 | 30.0765 | 1 | high
27 | 1300 | 0.1996 | 3.3858 | 0.0659 | 0.975 | tentative
28 | 1321 | 0.4765 | 14.7301 | 21.7853 | 1 | high
29 | 1346 | 0.4865 | 27.4758 | 12.337 | 1 | high
30 | 1395 | 0.4661 | 27.3784 | 18.051 | 0.975 | high
31 | 1451 | 0.4932 | 52.4037 | 34.5504 | 1 | high
32 | 1544 | 0.0977 | 11.6546 | 9.5288 | 0.775 | high
33 | 1590 | 0.2818 | 42.393 | 34.261 | 1 | high
34 | 1633 | 0.0786 | 4.9237 | 2.5071 | 0.95 | tentative
35 | 1652 | 0.0704 | 6.7368 | 1.25 | 0.85 | tentative
36 | 1700 | 0.172 | 37.8676 | 31.5203 | 0.9 | high
37 | 1726 | 0.0803 | 3.923 | 2.7217 | 0.925 | tentative
38 | 1751 | 0.0733 | 5.6539 | 2.5379 | 0.85 | tentative
39 | 1758 | 0.0724 | 3.5009 | 2.5399 | 0.675 | tentative
40 | 1768 | 0.0777 | 11.663 | 5.9086 | 0.85 | high
41 | 1792 | 0.0647 | 7.6449 | 0.8678 | 0.95 | tentative
Total bands detected | 41
High confidence | 29
Tentative | 12
Counts are computed by formula from the table above.

## Reference_Spectrum
Averaged experimental NAM reference spectrum (n = 22 replicates)
Raman shift (cm-1) | Mean intensity (normalised) | Std dev across replicates
400 | 0.063775 | 0.048221
401 | 0.063292 | 0.048009
402 | 0.062632 | 0.051647
403 | 0.062219 | 0.052961
404 | 0.062478 | 0.052155
405 | 0.063831 | 0.050912
406 | 0.06863 | 0.049679
407 | 0.075496 | 0.047607
408 | 0.081941 | 0.045043
409 | 0.086503 | 0.042327
410 | 0.089764 | 0.04073
411 | 0.091485 | 0.040663
412 | 0.090941 | 0.040694
413 | 0.087361 | 0.040636
414 | 0.082421 | 0.042384
415 | 0.07899 | 0.045141
416 | 0.077945 | 0.047854
417 | 0.07884 | 0.049372
418 | 0.079703 | 0.048849
419 | 0.078885 | 0.04798
420 | 0.077033 | 0.047318
421 | 0.07596 | 0.046226
422 | 0.075759 | 0.045595
423 | 0.074775 | 0.045349
424 | 0.072883 | 0.04474
425 | 0.074117 | 0.046489
426 | 0.078065 | 0.049591
427 | 0.082901 | 0.048753
428 | 0.086431 | 0.046183
429 | 0.085764 | 0.045459
430 | 0.081193 | 0.045578
431 | 0.074737 | 0.043481
432 | 0.06551 | 0.040275
433 | 0.053568 | 0.036335
434 | 0.042334 | 0.034471
435 | 0.034106 | 0.036382
436 | 0.026107 | 0.036611
437 | 0.02025 | 0.034467
438 | 0.017464 | 0.033238
439 | 0.01743 | 0.033602
440 | 0.019956 | 0.034737
441 | 0.023561 | 0.03663
442 | 0.027362 | 0.039143
443 | 0.032768 | 0.04098
444 | 0.040309 | 0.042365
445 | 0.046181 | 0.04367
446 | 0.051878 | 0.044138
447 | 0.061543 | 0.043639
448 | 0.077669 | 0.043023
449 | 0.10024 | 0.043975
450 | 0.13172 | 0.04562
451 | 0.17325 | 0.045722
452 | 0.22976 | 0.045636
453 | 0.29999 | 0.045981
454 | 0.38249 | 0.045299
455 | 0.46404 | 0.044458
456 | 0.54116 | 0.043647
457 | 0.59859 | 0.042623
458 | 0.62591 | 0.041199
459 | 0.61557 | 0.039541
460 | 0.56848 | 0.036895
461 | 0.49498 | 0.034599
462 | 0.40987 | 0.034195
463 | 0.3222 | 0.035026
464 | 0.24549 | 0.03503
465 | 0.18458 | 0.035813
466 | 0.14417 | 0.039345
467 | 0.11558 | 0.042736
468 | 0.096144 | 0.044423
469 | 0.081187 | 0.045473
470 | 0.068775 | 0.047073
471 | 0.060808 | 0.049504
472 | 0.054448 | 0.051612
473 | 0.049585 | 0.05318
474 | 0.054079 | 0.052718
475 | 0.06652 | 0.049593
476 | 0.078713 | 0.046521
477 | 0.091336 | 0.045643
478 | 0.10682 | 0.044118
479 | 0.124 | 0.042196
480 | 0.14293 | 0.040902
481 | 0.16638 | 0.040286
482 | 0.1952 | 0.039891
483 | 0.23703 | 0.039685
484 | 0.29118 | 0.040222
485 | 0.34911 | 0.040506
486 | 0.39899 | 0.041642
487 | 0.43905 | 0.042636
488 | 0.46174 | 0.042795
489 | 0.46132 | 0.042292
490 | 0.43724 | 0.039899
491 | 0.39529 | 0.037249
492 | 0.34132 | 0.036245
493 | 0.28572 | 0.035568
494 | 0.22999 | 0.037213
495 | 0.18275 | 0.041703
496 | 0.14583 | 0.046217
497 | 0.12046 | 0.049239
498 | 0.1038 | 0.049163
499 | 0.097246 | 0.045085
500 | 0.097434 | 0.039512
501 | 0.097673 | 0.035482
502 | 0.094631 | 0.035563
503 | 0.087241 | 0.036333
504 | 0.07442 | 0.034003
505 | 0.059084 | 0.031128
506 | 0.043811 | 0.028724
507 | 0.030069 | 0.028807
508 | 0.022097 | 0.032622
509 | 0.023165 | 0.035365
510 | 0.026736 | 0.037757
511 | 0.030043 | 0.039902
512 | 0.03485 | 0.041701
513 | 0.042631 | 0.041305
514 | 0.054613 | 0.042778
515 | 0.071021 | 0.046829
516 | 0.093124 | 0.048466
517 | 0.12173 | 0.048308
518 | 0.15592 | 0.047957
519 | 0.19261 | 0.048318
520 | 0.22407 | 0.050537
521 | 0.2505 | 0.05169
522 | 0.2674 | 0.048933
523 | 0.27286 | 0.044472
524 | 0.26411 | 0.042625
525 | 0.24173 | 0.042061
526 | 0.21028 | 0.039863
527 | 0.17653 | 0.037987
528 | 0.14546 | 0.038989
529 | 0.12352 | 0.040407
530 | 0.11077 | 0.039775
531 | 0.11246 | 0.040251
532 | 0.12766 | 0.041502
533 | 0.15841 | 0.041323
534 | 0.20328 | 0.041557
535 | 0.25911 | 0.040297
536 | 0.32788 | 0.03826
537 | 0.42355 | 0.038961
538 | 0.5317 | 0.040208
539 | 0.64353 | 0.040754
540 | 0.73508 | 0.042674
541 | 0.79238 | 0.04532
542 | 0.80177 | 0.046515
543 | 0.76229 | 0.04671
544 | 0.67636 | 0.044413
545 | 0.55659 | 0.039488
546 | 0.42477 | 0.036104
547 | 0.31161 | 0.035239
548 | 0.21931 | 0.036921
549 | 0.15673 | 0.040164
550 | 0.11557 | 0.04109
551 | 0.093667 | 0.041818
552 | 0.083535 | 0.04447
553 | 0.081573 | 0.042766
554 | 0.082065 | 0.039266
555 | 0.082759 | 0.040906
556 | 0.082749 | 0.0462
557 | 0.085051 | 0.049719
558 | 0.083272 | 0.049542
559 | 0.076088 | 0.046643
560 | 0.070001 | 0.043724
561 | 0.066715 | 0.043491
562 | 0.063104 | 0.042373
563 | 0.060037 | 0.038351
564 | 0.057212 | 0.036472
565 | 0.057171 | 0.034724
566 | 0.063392 | 0.034567
567 | 0.072653 | 0.03764
568 | 0.079192 | 0.041775
569 | 0.086623 | 0.044203
570 | 0.097952 | 0.046764
571 | 0.10826 | 0.050039
572 | 0.11368 | 0.051303
573 | 0.11543 | 0.049552
574 | 0.1151 | 0.045662
575 | 0.11685 | 0.041446
576 | 0.12228 | 0.038744
577 | 0.13213 | 0.038378
578 | 0.14935 | 0.038276
579 | 0.17604 | 0.038171
580 | 0.21084 | 0.041623
581 | 0.24769 | 0.048737
582 | 0.28136 | 0.05205
583 | 0.3113 | 0.049397
584 | 0.33336 | 0.043966
585 | 0.34476 | 0.040071
586 | 0.34175 | 0.038985
587 | 0.32292 | 0.036868
588 | 0.2925 | 0.035603
589 | 0.25516 | 0.037791
590 | 0.21387 | 0.038826
591 | 0.17048 | 0.037862
592 | 0.13051 | 0.036815
593 | 0.10086 | 0.037064
594 | 0.081959 | 0.038431
595 | 0.069979 | 0.038215
596 | 0.059536 | 0.037083
597 | 0.050224 | 0.036534
598 | 0.044039 | 0.037537
599 | 0.039886 | 0.037173
600 | 0.037117 | 0.035761
601 | 0.038011 | 0.03529
602 | 0.041281 | 0.034527
603 | 0.046397 | 0.033668
604 | 0.05705 | 0.034947
605 | 0.070336 | 0.03574
606 | 0.084326 | 0.035077
607 | 0.099566 | 0.035848
608 | 0.11437 | 0.036876
609 | 0.12852 | 0.036482
610 | 0.14283 | 0.035602
611 | 0.15664 | 0.034391
612 | 0.16674 | 0.033081
613 | 0.17355 | 0.032097
614 | 0.18027 | 0.032195
615 | 0.18642 | 0.033143
616 | 0.18813 | 0.035023
617 | 0.18341 | 0.037478
618 | 0.17168 | 0.038097
619 | 0.15474 | 0.036325
620 | 0.13156 | 0.034105
621 | 0.10652 | 0.035931
622 | 0.088846 | 0.040076
623 | 0.077785 | 0.044325
624 | 0.071473 | 0.047495
625 | 0.069951 | 0.050088
626 | 0.070283 | 0.050665
627 | 0.070731 | 0.047985
628 | 0.070271 | 0.044584
629 | 0.067964 | 0.042515
630 | 0.062066 | 0.042331
631 | 0.057493 | 0.04167
632 | 0.059011 | 0.041906
633 | 0.062192 | 0.044882
634 | 0.069267 | 0.046799
635 | 0.080654 | 0.047514
636 | 0.093816 | 0.049116
637 | 0.10935 | 0.05001
638 | 0.12793 | 0.049773
639 | 0.14858 | 0.047624
640 | 0.16944 | 0.04519
641 | 0.18883 | 0.043773
642 | 0.20624 | 0.043819
643 | 0.22477 | 0.044262
644 | 0.24322 | 0.042734
645 | 0.25753 | 0.040358
646 | 0.26411 | 0.038622
647 | 0.26343 | 0.036428
648 | 0.25357 | 0.03518
649 | 0.23511 | 0.035634
650 | 0.20938 | 0.035606
651 | 0.18141 | 0.035082
652 | 0.15658 | 0.034245
653 | 0.1371 | 0.033036
654 | 0.1201 | 0.032784
655 | 0.10358 | 0.033148
656 | 0.088148 | 0.033886
657 | 0.073719 | 0.036738
658 | 0.061007 | 0.041391
659 | 0.052816 | 0.043685
660 | 0.047994 | 0.042389
661 | 0.04831 | 0.041138
662 | 0.052551 | 0.037006
663 | 0.058299 | 0.033825
664 | 0.065985 | 0.035792
665 | 0.070364 | 0.037289
666 | 0.071048 | 0.036474
667 | 0.072187 | 0.035313
668 | 0.076941 | 0.034655
669 | 0.085896 | 0.035372
670 | 0.0952 | 0.038757
671 | 0.10217 | 0.041935
672 | 0.10832 | 0.042011
673 | 0.11607 | 0.040917
674 | 0.12499 | 0.040192
675 | 0.13015 | 0.039815
676 | 0.13168 | 0.038538
677 | 0.13188 | 0.036275
678 | 0.12937 | 0.034397
679 | 0.12293 | 0.035966
680 | 0.11133 | 0.040643
681 | 0.097671 | 0.04381
682 | 0.086216 | 0.043093
683 | 0.077525 | 0.04174
684 | 0.07111 | 0.04132
685 | 0.066752 | 0.041193
686 | 0.065036 | 0.042375
687 | 0.064488 | 0.045819
688 | 0.064102 | 0.05
689 | 0.062816 | 0.052708
690 | 0.0601 | 0.049785
691 | 0.060066 | 0.045175
692 | 0.063097 | 0.043267
693 | 0.070193 | 0.043132
694 | 0.080593 | 0.04091
695 | 0.087003 | 0.036963
696 | 0.095415 | 0.03482
697 | 0.11255 | 0.035065
698 | 0.13448 | 0.034578
699 | 0.15762 | 0.032266
700 | 0.18239 | 0.030699
701 | 0.20781 | 0.032877
702 | 0.231 | 0.035394
703 | 0.24769 | 0.035361
704 | 0.2519 | 0.033592
705 | 0.23901 | 0.031287
706 | 0.21847 | 0.029846
707 | 0.19256 | 0.028548
708 | 0.16031 | 0.027377
709 | 0.1267 | 0.028645
710 | 0.099761 | 0.033244
711 | 0.080523 | 0.036938
712 | 0.06725 | 0.037011
713 | 0.058216 | 0.035365
714 | 0.054165 | 0.033008
715 | 0.052862 | 0.031486
716 | 0.050459 | 0.030872
717 | 0.046376 | 0.032346
718 | 0.043379 | 0.036394
719 | 0.040897 | 0.038986
720 | 0.040671 | 0.039221
721 | 0.04273 | 0.037722
722 | 0.045039 | 0.035631
723 | 0.048351 | 0.034628
724 | 0.053998 | 0.036159
725 | 0.059135 | 0.03697
726 | 0.062264 | 0.036051
727 | 0.06468 | 0.034614
728 | 0.06426 | 0.034584
729 | 0.062998 | 0.036679
730 | 0.063318 | 0.039121
731 | 0.063486 | 0.039083
732 | 0.065201 | 0.038502
733 | 0.071965 | 0.039653
734 | 0.083893 | 0.041011
735 | 0.099259 | 0.040904
736 | 0.11341 | 0.038786
737 | 0.12441 | 0.037156
738 | 0.13374 | 0.036953
739 | 0.14433 | 0.037975
740 | 0.15534 | 0.037033
741 | 0.16365 | 0.0333
742 | 0.1711 | 0.02962
743 | 0.17891 | 0.028241
744 | 0.18433 | 0.028396
745 | 0.18574 | 0.029553
746 | 0.17991 | 0.031557
747 | 0.16823 | 0.032738
748 | 0.15471 | 0.032485
749 | 0.13972 | 0.03194
750 | 0.1225 | 0.032298
751 | 0.10441 | 0.036408
752 | 0.08666 | 0.041759
753 | 0.073112 | 0.046146
754 | 0.064606 | 0.048581
755 | 0.061019 | 0.046057
756 | 0.058369 | 0.041843
757 | 0.051556 | 0.037701
758 | 0.047346 | 0.033511
759 | 0.046836 | 0.030522
760 | 0.041818 | 0.030622
761 | 0.034033 | 0.0322
762 | 0.027484 | 0.031143
763 | 0.024019 | 0.030163
764 | 0.022483 | 0.028986
765 | 0.025811 | 0.030053
766 | 0.031646 | 0.031977
767 | 0.038449 | 0.033852
768 | 0.052308 | 0.03447
769 | 0.070175 | 0.034516
770 | 0.084309 | 0.037023
771 | 0.095418 | 0.040207
772 | 0.10156 | 0.040613
773 | 0.09994 | 0.037958
774 | 0.09224 | 0.034142
775 | 0.082766 | 0.032307
776 | 0.07196 | 0.032367
777 | 0.060543 | 0.032221
778 | 0.050177 | 0.032022
779 | 0.043264 | 0.034388
780 | 0.039895 | 0.039687
781 | 0.038979 | 0.04489
782 | 0.039179 | 0.047262
783 | 0.040992 | 0.048098
784 | 0.042509 | 0.044737
785 | 0.043143 | 0.040518
786 | 0.043074 | 0.037099
787 | 0.042536 | 0.034848
788 | 0.042557 | 0.03383
789 | 0.042614 | 0.036343
790 | 0.044082 | 0.040991
791 | 0.049759 | 0.043289
792 | 0.055619 | 0.044694
793 | 0.058639 | 0.044879
794 | 0.057521 | 0.04201
795 | 0.055354 | 0.039185
796 | 0.055191 | 0.036478
797 | 0.055607 | 0.033153
798 | 0.055494 | 0.032484
799 | 0.05407 | 0.034791
800 | 0.054258 | 0.037393
801 | 0.056228 | 0.03684
802 | 0.057502 | 0.035646
803 | 0.059434 | 0.035252
804 | 0.057291 | 0.03593
805 | 0.053812 | 0.038905
806 | 0.05622 | 0.040407
807 | 0.060681 | 0.040467
808 | 0.065551 | 0.038025
809 | 0.068392 | 0.033927
810 | 0.069788 | 0.029965
811 | 0.07519 | 0.02903
812 | 0.082495 | 0.029974
813 | 0.085956 | 0.031145
814 | 0.084012 | 0.032136
815 | 0.083528 | 0.032196
816 | 0.092365 | 0.027025
817 | 0.10528 | 0.024954
818 | 0.11864 | 0.023593
819 | 0.13366 | 0.023305
820 | 0.15408 | 0.025982
821 | 0.18244 | 0.027298
822 | 0.21345 | 0.026122
823 | 0.24617 | 0.02584
824 | 0.29006 | 0.02962
825 | 0.34691 | 0.033301
826 | 0.41677 | 0.031683
827 | 0.48911 | 0.031552
828 | 0.55808 | 0.034331
829 | 0.61454 | 0.037914
830 | 0.64926 | 0.040164
831 | 0.65108 | 0.038994
832 | 0.62161 | 0.036886
833 | 0.56733 | 0.034107
834 | 0.49811 | 0.035364
835 | 0.42191 | 0.040546
836 | 0.34999 | 0.043325
837 | 0.28797 | 0.043229
838 | 0.24058 | 0.042694
839 | 0.20515 | 0.041074
840 | 0.17965 | 0.038035
841 | 0.15684 | 0.033052
842 | 0.1386 | 0.030825
843 | 0.12414 | 0.029905
844 | 0.1125 | 0.029965
845 | 0.10448 | 0.0305
846 | 0.10053 | 0.030162
847 | 0.098786 | 0.030614
848 | 0.095285 | 0.028937
849 | 0.095253 | 0.029018
850 | 0.10019 | 0.031658
851 | 0.1064 | 0.030833
852 | 0.11263 | 0.03007
853 | 0.11669 | 0.029455
854 | 0.12004 | 0.029818
855 | 0.12247 | 0.031128
856 | 0.12493 | 0.033042
857 | 0.12895 | 0.035645
858 | 0.13689 | 0.035218
859 | 0.15267 | 0.032966
860 | 0.17559 | 0.0291
861 | 0.20269 | 0.026262
862 | 0.23519 | 0.025591
863 | 0.27414 | 0.02733
864 | 0.32082 | 0.02858
865 | 0.37632 | 0.028821
866 | 0.44813 | 0.031231
867 | 0.53533 | 0.036567
868 | 0.63986 | 0.044492
869 | 0.74387 | 0.050773
870 | 0.83342 | 0.054132
871 | 0.89583 | 0.056534
872 | 0.92178 | 0.056014
873 | 0.90277 | 0.052297
874 | 0.83994 | 0.049431
875 | 0.74203 | 0.046922
876 | 0.62733 | 0.041324
877 | 0.51233 | 0.035483
878 | 0.41721 | 0.031644
879 | 0.33919 | 0.028144
880 | 0.28018 | 0.025362
881 | 0.24091 | 0.028479
882 | 0.21613 | 0.034329
883 | 0.19923 | 0.034811
884 | 0.18453 | 0.034858
885 | 0.16829 | 0.034133
886 | 0.15638 | 0.032851
887 | 0.14959 | 0.03109
888 | 0.14465 | 0.02838
889 | 0.13906 | 0.027302
890 | 0.13436 | 0.028482
891 | 0.13408 | 0.031063
892 | 0.13668 | 0.034319
893 | 0.13918 | 0.036214
894 | 0.14042 | 0.03635
895 | 0.14362 | 0.034192
896 | 0.15675 | 0.030981
897 | 0.1749 | 0.03145
898 | 0.19528 | 0.032889
899 | 0.2152 | 0.03287
900 | 0.23037 | 0.031829
901 | 0.23819 | 0.030535
902 | 0.23402 | 0.030733
903 | 0.21525 | 0.030156
904 | 0.18795 | 0.030446
905 | 0.15815 | 0.031492
906 | 0.13533 | 0.0314
907 | 0.11902 | 0.030785
908 | 0.1089 | 0.030412
909 | 0.10152 | 0.030876
910 | 0.09692 | 0.032693
911 | 0.094753 | 0.031625
912 | 0.092894 | 0.029536
913 | 0.090549 | 0.028706
914 | 0.089332 | 0.029136
915 | 0.091548 | 0.029924
916 | 0.10003 | 0.031924
917 | 0.11022 | 0.033285
918 | 0.12136 | 0.031514
919 | 0.13635 | 0.028384
920 | 0.15664 | 0.027537
921 | 0.17955 | 0.029534
922 | 0.2142 | 0.028587
923 | 0.26725 | 0.027455
924 | 0.34848 | 0.029991
925 | 0.45855 | 0.03438
926 | 0.59731 | 0.038297
927 | 0.74468 | 0.041628
928 | 0.87723 | 0.044938
929 | 0.96943 | 0.045122
930 | 1 | 0.042938
931 | 0.95636 | 0.040593
932 | 0.85414 | 0.03867
933 | 0.71325 | 0.036492
934 | 0.55971 | 0.033675
935 | 0.41514 | 0.030979
936 | 0.29998 | 0.029089
937 | 0.21959 | 0.027229
938 | 0.16978 | 0.027587
939 | 0.13664 | 0.029633
940 | 0.11357 | 0.0304
941 | 0.096111 | 0.029489
942 | 0.089874 | 0.029872
943 | 0.091579 | 0.031747
944 | 0.094922 | 0.032105
945 | 0.10064 | 0.032867
946 | 0.11201 | 0.033996
947 | 0.13405 | 0.033684
948 | 0.1674 | 0.032612
949 | 0.21148 | 0.031916
950 | 0.28197 | 0.032876
951 | 0.38247 | 0.035169
952 | 0.52467 | 0.037994
953 | 0.67964 | 0.041021
954 | 0.82096 | 0.043831
955 | 0.9193 | 0.045607
956 | 0.95763 | 0.047672
957 | 0.9252 | 0.049474
958 | 0.82928 | 0.051011
959 | 0.68677 | 0.050263
960 | 0.52899 | 0.046442
961 | 0.38204 | 0.040956
962 | 0.27312 | 0.035202
963 | 0.19434 | 0.033716
964 | 0.14484 | 0.032283
965 | 0.11557 | 0.025739
966 | 0.098286 | 0.021615
967 | 0.08346 | 0.023399
968 | 0.070687 | 0.024989
969 | 0.059155 | 0.025173
970 | 0.050261 | 0.023318
971 | 0.041746 | 0.023857
972 | 0.031961 | 0.025722
973 | 0.023276 | 0.027444
974 | 0.016484 | 0.029819
975 | 0.012043 | 0.031037
976 | 0.006972 | 0.03202
977 | 0.0020597 | 0.032808
978 | 0.0023071 | 0.031846
979 | 0.0052428 | 0.03101
980 | 0.0088773 | 0.030254
981 | 0.013275 | 0.028911
982 | 0.017824 | 0.029071
983 | 0.021065 | 0.030129
984 | 0.023257 | 0.032628
985 | 0.024708 | 0.035081
986 | 0.026267 | 0.035973
987 | 0.027486 | 0.036162
988 | 0.028142 | 0.036154
989 | 0.027212 | 0.034222
990 | 0.026716 | 0.032457
991 | 0.030901 | 0.031937
992 | 0.036887 | 0.03311
993 | 0.042926 | 0.03626
994 | 0.051549 | 0.040656
995 | 0.06221 | 0.043836
996 | 0.072939 | 0.042207
997 | 0.084352 | 0.040591
998 | 0.096942 | 0.03953
999 | 0.11189 | 0.037863
1000 | 0.12951 | 0.03729
1001 | 0.14978 | 0.036554
1002 | 0.17678 | 0.03586
1003 | 0.20859 | 0.037459
1004 | 0.24243 | 0.037478
1005 | 0.27204 | 0.037717
1006 | 0.29326 | 0.037806
1007 | 0.30421 | 0.037519
1008 | 0.30511 | 0.037674
1009 | 0.29648 | 0.037383
1010 | 0.28036 | 0.039811
1011 | 0.26333 | 0.042488
1012 | 0.25477 | 0.043271
1013 | 0.2577 | 0.043934
1014 | 0.27507 | 0.044128
1015 | 0.31057 | 0.04362
1016 | 0.36227 | 0.042564
1017 | 0.42647 | 0.042131
1018 | 0.49543 | 0.040989
1019 | 0.56259 | 0.038335
1020 | 0.62734 | 0.037411
1021 | 0.68327 | 0.039909
1022 | 0.72479 | 0.043169
1023 | 0.74949 | 0.044956
1024 | 0.75339 | 0.046399
1025 | 0.73682 | 0.046725
1026 | 0.69864 | 0.046603
1027 | 0.64189 | 0.046081
1028 | 0.56761 | 0.041309
1029 | 0.48653 | 0.036451
1030 | 0.41168 | 0.033899
1031 | 0.34506 | 0.033585
1032 | 0.29172 | 0.037243
1033 | 0.25333 | 0.039739
1034 | 0.22393 | 0.041544
1035 | 0.20067 | 0.042197
1036 | 0.18766 | 0.041345
1037 | 0.18259 | 0.041396
1038 | 0.18247 | 0.040985
1039 | 0.1872 | 0.041003
1040 | 0.19687 | 0.042063
1041 | 0.21359 | 0.039722
1042 | 0.23389 | 0.038751
1043 | 0.25252 | 0.039875
1044 | 0.26151 | 0.039683
1045 | 0.26128 | 0.039213
1046 | 0.25401 | 0.039757
1047 | 0.23549 | 0.040708
1048 | 0.21026 | 0.041628
1049 | 0.18561 | 0.043005
1050 | 0.16956 | 0.043184
1051 | 0.16778 | 0.040888
1052 | 0.17872 | 0.039977
1053 | 0.20091 | 0.041038
1054 | 0.2297 | 0.043174
1055 | 0.26268 | 0.045439
1056 | 0.29373 | 0.047576
1057 | 0.3168 | 0.048055
1058 | 0.32992 | 0.046557
1059 | 0.3322 | 0.043781
1060 | 0.32264 | 0.042074
1061 | 0.30676 | 0.041654
1062 | 0.28895 | 0.040732
1063 | 0.26839 | 0.041462
1064 | 0.24965 | 0.043338
1065 | 0.23671 | 0.044585
1066 | 0.22421 | 0.046625
1067 | 0.21069 | 0.048787
1068 | 0.19486 | 0.04993
1069 | 0.17647 | 0.048704
1070 | 0.15584 | 0.045866
1071 | 0.13745 | 0.04508
1072 | 0.12295 | 0.046519
1073 | 0.11061 | 0.048349
1074 | 0.10593 | 0.049004
1075 | 0.1106 | 0.047896
1076 | 0.11902 | 0.045841
1077 | 0.13195 | 0.043739
1078 | 0.15009 | 0.042364
1079 | 0.17342 | 0.043161
1080 | 0.20106 | 0.044778
1081 | 0.23123 | 0.046496
1082 | 0.26346 | 0.046836
1083 | 0.29226 | 0.046928
1084 | 0.31197 | 0.04764
1085 | 0.31871 | 0.048169
1086 | 0.31161 | 0.048097
1087 | 0.29186 | 0.049026
1088 | 0.26404 | 0.050977
1089 | 0.23413 | 0.052946
1090 | 0.18945 | 0.071235
1091 | 0.16397 | 0.073151
1092 | 0.18947 | 0.046925
1093 | 0.2231 | 0.10245
1094 | 0.25205 | 0.14701
1095 | 0.2763 | 0.17057
1096 | 0.29432 | 0.17206
1097 | 0.30486 | 0.15305
1098 | 0.31233 | 0.11696
1099 | 0.30839 | 0.066383
1100 | 0.2858 | 0.050905
1101 | 0.28353 | 0.071265
1102 | 0.30854 | 0.051502
1103 | 0.31767 | 0.048267
1104 | 0.31709 | 0.05037
1105 | 0.31414 | 0.054431
1106 | 0.31141 | 0.056204
1107 | 0.31262 | 0.056738
1108 | 0.3225 | 0.05579
1109 | 0.3374 | 0.052025
1110 | 0.35277 | 0.049435
1111 | 0.36627 | 0.049229
1112 | 0.37614 | 0.048868
1113 | 0.38214 | 0.047491
1114 | 0.38214 | 0.04594
1115 | 0.37623 | 0.044947
1116 | 0.367 | 0.044164
1117 | 0.35615 | 0.044366
1118 | 0.34843 | 0.044994
1119 | 0.34948 | 0.045558
1120 | 0.35586 | 0.046825
1121 | 0.37264 | 0.049706
1122 | 0.40254 | 0.052099
1123 | 0.44249 | 0.053048
1124 | 0.48878 | 0.052611
1125 | 0.53669 | 0.05124
1126 | 0.57882 | 0.050764
1127 | 0.60656 | 0.050845
1128 | 0.61302 | 0.050095
1129 | 0.59559 | 0.048139
1130 | 0.55524 | 0.045511
1131 | 0.5002 | 0.044096
1132 | 0.43585 | 0.042443
1133 | 0.3646 | 0.04119
1134 | 0.29589 | 0.040773
1135 | 0.23894 | 0.041693
1136 | 0.19573 | 0.043767
1137 | 0.16634 | 0.045358
1138 | 0.14801 | 0.044455
1139 | 0.13702 | 0.044146
1140 | 0.13452 | 0.04476
1141 | 0.13842 | 0.045119
1142 | 0.14318 | 0.043894
1143 | 0.15107 | 0.042081
1144 | 0.1648 | 0.040512
1145 | 0.18209 | 0.038834
1146 | 0.20164 | 0.037086
1147 | 0.22163 | 0.03721
1148 | 0.23664 | 0.038149
1149 | 0.24659 | 0.039439
1150 | 0.25844 | 0.041256
1151 | 0.27378 | 0.04162
1152 | 0.29171 | 0.040641
1153 | 0.31934 | 0.039908
1154 | 0.35071 | 0.039545
1155 | 0.37754 | 0.038538
1156 | 0.39683 | 0.041007
1157 | 0.40029 | 0.044419
1158 | 0.38219 | 0.044707
1159 | 0.35087 | 0.045599
1160 | 0.31131 | 0.04722
1161 | 0.26769 | 0.045861
1162 | 0.2247 | 0.044913
1163 | 0.18796 | 0.045471
1164 | 0.15547 | 0.04322
1165 | 0.13198 | 0.043233
1166 | 0.1178 | 0.080318
1167 | 0.1055 | 0.1174
1168 | 0.094483 | 0.14215
1169 | 0.087872 | 0.14946
1170 | 0.082022 | 0.1389
1171 | 0.07514 | 0.11241
1172 | 0.066925 | 0.073012
1173 | 0.060426 | 0.041112
1174 | 0.054718 | 0.038319
1175 | 0.05149 | 0.037942
1176 | 0.051891 | 0.038162
1177 | 0.052172 | 0.040013
1178 | 0.0497 | 0.038961
1179 | 0.045896 | 0.040379
1180 | 0.041374 | 0.044025
1181 | 0.037888 | 0.044185
1182 | 0.034234 | 0.04347
1183 | 0.031173 | 0.04163
1184 | 0.0046782 | 0.039764
1185 | 0.0098563 | 0.03803
1186 | 0.068807 | 0.073041
1187 | 0.11598 | 0.12709
1188 | 0.14697 | 0.16766
1189 | 0.16519 | 0.19278
1190 | 0.1685 | 0.19611
1191 | 0.15634 | 0.17371
1192 | 0.12628 | 0.13334
1193 | 0.078717 | 0.075314
1194 | 0.016373 | 0.029639
1195 | 0 | 0.033469
1196 | 0.016382 | 0.030277
1197 | 0.011222 | 0.032475
1198 | 0.0091917 | 0.033357
1199 | 0.012692 | 0.034773
1200 | 0.019626 | 0.034638
1201 | 0.029601 | 0.035872
1202 | 0.040588 | 0.03848
1203 | 0.050445 | 0.039392
1204 | 0.057766 | 0.037625
1205 | 0.064369 | 0.036201
1206 | 0.073628 | 0.036493
1207 | 0.080652 | 0.036467
1208 | 0.083272 | 0.03571
1209 | 0.080197 | 0.035084
1210 | 0.077004 | 0.036746
1211 | 0.073422 | 0.039872
1212 | 0.068142 | 0.041628
1213 | 0.061553 | 0.042175
1214 | 0.05454 | 0.039538
1215 | 0.047503 | 0.037677
1216 | 0.045387 | 0.036763
1217 | 0.043994 | 0.036085
1218 | 0.040984 | 0.036973
1219 | 0.038105 | 0.03835
1220 | 0.041546 | 0.038004
1221 | 0.05048 | 0.037995
1222 | 0.061543 | 0.037081
1223 | 0.072354 | 0.035769
1224 | 0.081761 | 0.034859
1225 | 0.089219 | 0.036346
1226 | 0.10057 | 0.034707
1227 | 0.11355 | 0.031291
1228 | 0.12528 | 0.031136
1229 | 0.13622 | 0.031802
1230 | 0.14416 | 0.032203
1231 | 0.14994 | 0.034796
1232 | 0.15232 | 0.03992
1233 | 0.15484 | 0.045261
1234 | 0.15867 | 0.045342
1235 | 0.16308 | 0.042259
1236 | 0.16453 | 0.03928
1237 | 0.16488 | 0.036457
1238 | 0.16744 | 0.03485
1239 | 0.17146 | 0.034239
1240 | 0.17619 | 0.032406
1241 | 0.18497 | 0.032609
1242 | 0.1973 | 0.033975
1243 | 0.21527 | 0.034669
1244 | 0.2398 | 0.035644
1245 | 0.26563 | 0.037385
1246 | 0.28685 | 0.039396
1247 | 0.30389 | 0.041169
1248 | 0.31731 | 0.040768
1249 | 0.32435 | 0.040029
1250 | 0.32234 | 0.038032
1251 | 0.31563 | 0.039621
1252 | 0.30466 | 0.043061
1253 | 0.28718 | 0.044738
1254 | 0.27003 | 0.044171
1255 | 0.25294 | 0.042934
1256 | 0.23469 | 0.040705
1257 | 0.216 | 0.040415
1258 | 0.19807 | 0.043307
1259 | 0.1836 | 0.044744
1260 | 0.16714 | 0.042008
1261 | 0.14944 | 0.039146
1262 | 0.13391 | 0.037832
1263 | 0.11598 | 0.037802
1264 | 0.099623 | 0.037276
1265 | 0.087605 | 0.036974
1266 | 0.076746 | 0.035279
1267 | 0.066078 | 0.034775
1268 | 0.055479 | 0.03473
1269 | 0.047748 | 0.033941
1270 | 0.039339 | 0.034773
1271 | 0.033529 | 0.035637
1272 | 0.033688 | 0.03489
1273 | 0.03363 | 0.03317
1274 | 0.033392 | 0.033016
1275 | 0.035107 | 0.033481
1276 | 0.035734 | 0.032377
1277 | 0.034876 | 0.031216
1278 | 0.032157 | 0.030264
1279 | 0.02745 | 0.030677
1280 | 0.026122 | 0.031396
1281 | 0.031154 | 0.030086
1282 | 0.038324 | 0.029352
1283 | 0.046329 | 0.030709
1284 | 0.057435 | 0.031636
1285 | 0.072707 | 0.032988
1286 | 0.08963 | 0.03413
1287 | 0.10684 | 0.036034
1288 | 0.12123 | 0.03774
1289 | 0.13139 | 0.038151
1290 | 0.13933 | 0.038165
1291 | 0.13934 | 0.038271
1292 | 0.13533 | 0.037979
1293 | 0.13212 | 0.037534
1294 | 0.13211 | 0.036369
1295 | 0.13894 | 0.034748
1296 | 0.15063 | 0.033166
1297 | 0.16455 | 0.032809
1298 | 0.1791 | 0.031907
1299 | 0.19235 | 0.030945
1300 | 0.19961 | 0.031329
1301 | 0.19642 | 0.032697
1302 | 0.18884 | 0.032534
1303 | 0.18195 | 0.031555
1304 | 0.17226 | 0.032082
1305 | 0.16273 | 0.03345
1306 | 0.15997 | 0.033233
1307 | 0.16463 | 0.031716
1308 | 0.17889 | 0.030952
1309 | 0.20871 | 0.031207
1310 | 0.24901 | 0.032572
1311 | 0.29429 | 0.034791
1312 | 0.33886 | 0.035483
1313 | 0.37728 | 0.036258
1314 | 0.39991 | 0.035936
1315 | 0.40842 | 0.034116
1316 | 0.41361 | 0.031222
1317 | 0.41877 | 0.029098
1318 | 0.43166 | 0.030566
1319 | 0.45106 | 0.034022
1320 | 0.46723 | 0.036822
1321 | 0.47652 | 0.039242
1322 | 0.47026 | 0.038761
1323 | 0.44571 | 0.03538
1324 | 0.40802 | 0.032547
1325 | 0.36498 | 0.031752
1326 | 0.32741 | 0.032665
1327 | 0.29858 | 0.035763
1328 | 0.28821 | 0.04052
1329 | 0.29204 | 0.043896
1330 | 0.30409 | 0.044755
1331 | 0.32341 | 0.044642
1332 | 0.34421 | 0.042457
1333 | 0.36809 | 0.040711
1334 | 0.39564 | 0.040904
1335 | 0.42299 | 0.041625
1336 | 0.44067 | 0.043184
1337 | 0.44802 | 0.043009
1338 | 0.45194 | 0.042167
1339 | 0.45226 | 0.041274
1340 | 0.448 | 0.041325
1341 | 0.44484 | 0.04244
1342 | 0.44572 | 0.041475
1343 | 0.45508 | 0.0415
1344 | 0.46994 | 0.041512
1345 | 0.48274 | 0.040288
1346 | 0.48653 | 0.039652
1347 | 0.4839 | 0.038519
1348 | 0.4765 | 0.036458
1349 | 0.45909 | 0.034958
1350 | 0.43223 | 0.03368
1351 | 0.39845 | 0.031544
1352 | 0.36214 | 0.029455
1353 | 0.32645 | 0.03055
1354 | 0.28999 | 0.032833
1355 | 0.25442 | 0.032899
1356 | 0.22392 | 0.034951
1357 | 0.20163 | 0.035786
1358 | 0.18622 | 0.035519
1359 | 0.17197 | 0.035336
1360 | 0.16068 | 0.033222
1361 | 0.15126 | 0.031542
1362 | 0.14505 | 0.032156
1363 | 0.14122 | 0.032792
1364 | 0.13332 | 0.033506
1365 | 0.12534 | 0.035056
1366 | 0.12107 | 0.03593
1367 | 0.12249 | 0.034303
1368 | 0.12595 | 0.033844
1369 | 0.13098 | 0.034251
1370 | 0.14183 | 0.033779
1371 | 0.15603 | 0.033169
1372 | 0.174 | 0.032549
1373 | 0.19658 | 0.032121
1374 | 0.21542 | 0.031086
1375 | 0.23211 | 0.029936
1376 | 0.25218 | 0.029564
1377 | 0.27211 | 0.030043
1378 | 0.28752 | 0.031034
1379 | 0.29994 | 0.032723
1380 | 0.30962 | 0.03398
1381 | 0.31418 | 0.035792
1382 | 0.31531 | 0.038579
1383 | 0.32146 | 0.040477
1384 | 0.33094 | 0.041111
1385 | 0.34229 | 0.039671
1386 | 0.36082 | 0.040099
1387 | 0.38191 | 0.038636
1388 | 0.40364 | 0.03619
1389 | 0.42356 | 0.036454
1390 | 0.43577 | 0.038085
1391 | 0.44027 | 0.038865
1392 | 0.4452 | 0.038953
1393 | 0.4545 | 0.037404
1394 | 0.46337 | 0.034885
1395 | 0.46615 | 0.033603
1396 | 0.46103 | 0.034055
1397 | 0.44448 | 0.035117
1398 | 0.4192 | 0.035469
1399 | 0.38547 | 0.036531
1400 | 0.34564 | 0.036694
1401 | 0.30227 | 0.034457
1402 | 0.266 | 0.032518
1403 | 0.23771 | 0.030793
1404 | 0.21659 | 0.0325
1405 | 0.20416 | 0.035378
1406 | 0.19791 | 0.037988
1407 | 0.19405 | 0.036094
1408 | 0.19202 | 0.035225
1409 | 0.18856 | 0.034767
1410 | 0.18333 | 0.033067
1411 | 0.17528 | 0.030983
1412 | 0.16829 | 0.02827
1413 | 0.16429 | 0.026921
1414 | 0.16054 | 0.028134
1415 | 0.1585 | 0.030634
1416 | 0.15582 | 0.032215
1417 | 0.15231 | 0.032622
1418 | 0.14709 | 0.033735
1419 | 0.14142 | 0.035354
1420 | 0.13907 | 0.036105
1421 | 0.13889 | 0.038113
1422 | 0.1406 | 0.039984
1423 | 0.14786 | 0.039172
1424 | 0.15087 | 0.035632
1425 | 0.14813 | 0.03303
1426 | 0.14802 | 0.034136
1427 | 0.1519 | 0.036328
1428 | 0.15974 | 0.037274
1429 | 0.17495 | 0.038012
1430 | 0.19651 | 0.037017
1431 | 0.22111 | 0.035732
1432 | 0.24858 | 0.035591
1433 | 0.27601 | 0.03614
1434 | 0.29564 | 0.036589
1435 | 0.31083 | 0.035082
1436 | 0.33051 | 0.03549
1437 | 0.34626 | 0.036513
1438 | 0.35673 | 0.037483
1439 | 0.36793 | 0.037925
1440 | 0.3763 | 0.036928
1441 | 0.38236 | 0.035619
1442 | 0.3872 | 0.034866
1443 | 0.39164 | 0.034877
1444 | 0.39902 | 0.034961
1445 | 0.40932 | 0.035185
1446 | 0.4261 | 0.034964
1447 | 0.44378 | 0.035528
1448 | 0.46042 | 0.038904
1449 | 0.47591 | 0.041966
1450 | 0.48674 | 0.043242
1451 | 0.49323 | 0.043964
1452 | 0.49091 | 0.043034
1453 | 0.4821 | 0.039846
1454 | 0.46689 | 0.037663
1455 | 0.44261 | 0.035141
1456 | 0.41568 | 0.033889
1457 | 0.38833 | 0.033452
1458 | 0.36198 | 0.033918
1459 | 0.33685 | 0.033499
1460 | 0.3165 | 0.033156
1461 | 0.3024 | 0.033417
1462 | 0.29038 | 0.032435
1463 | 0.2824 | 0.032608
1464 | 0.27751 | 0.032673
1465 | 0.26962 | 0.030572
1466 | 0.25941 | 0.028361
1467 | 0.24637 | 0.028779
1468 | 0.23063 | 0.030165
1469 | 0.21305 | 0.03069
1470 | 0.19603 | 0.030768
1471 | 0.18445 | 0.030558
1472 | 0.17685 | 0.031452
1473 | 0.1711 | 0.033206
1474 | 0.16264 | 0.033596
1475 | 0.15445 | 0.036116
1476 | 0.14541 | 0.038579
1477 | 0.13235 | 0.039092
1478 | 0.11872 | 0.038311
1479 | 0.10531 | 0.039075
1480 | 0.093535 | 0.03958
1481 | 0.086746 | 0.038454
1482 | 0.081379 | 0.036514
1483 | 0.075029 | 0.034657
1484 | 0.065168 | 0.031908
1485 | 0.060228 | 0.032012
1486 | 0.056542 | 0.032211
1487 | 0.051435 | 0.030783
1488 | 0.047457 | 0.029677
1489 | 0.04533 | 0.02887
1490 | 0.047048 | 0.03147
1491 | 0.049396 | 0.03416
1492 | 0.051283 | 0.035575
1493 | 0.052199 | 0.035548
1494 | 0.053975 | 0.034731
1495 | 0.055567 | 0.03485
1496 | 0.054639 | 0.035054
1497 | 0.050684 | 0.033986
1498 | 0.045131 | 0.033896
1499 | 0.041144 | 0.035506
1500 | 0.039143 | 0.038449
1501 | 0.03695 | 0.037459
1502 | 0.035578 | 0.035888
1503 | 0.035306 | 0.035685
1504 | 0.036303 | 0.034454
1505 | 0.037191 | 0.035388
1506 | 0.038505 | 0.03741
1507 | 0.0384 | 0.03882
1508 | 0.038555 | 0.038163
1509 | 0.038199 | 0.037453
1510 | 0.036121 | 0.038266
1511 | 0.036808 | 0.034693
1512 | 0.037414 | 0.031993
1513 | 0.036495 | 0.030829
1514 | 0.03711 | 0.029948
1515 | 0.039514 | 0.032476
1516 | 0.041208 | 0.035393
1517 | 0.040749 | 0.035141
1518 | 0.037672 | 0.034978
1519 | 0.032942 | 0.036717
1520 | 0.030314 | 0.042628
1521 | 0.02896 | 0.043338
1522 | 0.02801 | 0.042704
1523 | 0.029069 | 0.042163
1524 | 0.034887 | 0.041245
1525 | 0.039301 | 0.040827
1526 | 0.041655 | 0.041303
1527 | 0.043399 | 0.039132
1528 | 0.043344 | 0.036484
1529 | 0.043325 | 0.034705
1530 | 0.042835 | 0.033475
1531 | 0.041885 | 0.032159
1532 | 0.044547 | 0.032529
1533 | 0.05115 | 0.03535
1534 | 0.058325 | 0.034303
1535 | 0.062608 | 0.034699
1536 | 0.066363 | 0.036054
1537 | 0.074253 | 0.035389
1538 | 0.080249 | 0.033396
1539 | 0.08157 | 0.032275
1540 | 0.079214 | 0.032535
1541 | 0.0829 | 0.032454
1542 | 0.089804 | 0.036071
1543 | 0.096476 | 0.04157
1544 | 0.097679 | 0.039936
1545 | 0.096555 | 0.039855
1546 | 0.096186 | 0.038744
1547 | 0.097615 | 0.034053
1548 | 0.093177 | 0.030571
1549 | 0.088123 | 0.029654
1550 | 0.086239 | 0.03189
1551 | 0.085311 | 0.030867
1552 | 0.086093 | 0.030732
1553 | 0.086475 | 0.032619
1554 | 0.081224 | 0.034887
1555 | 0.075774 | 0.03588
1556 | 0.070185 | 0.035182
1557 | 0.064129 | 0.032997
1558 | 0.059459 | 0.033435
1559 | 0.057489 | 0.034557
1560 | 0.056678 | 0.034535
1561 | 0.055297 | 0.03276
1562 | 0.056485 | 0.033557
1563 | 0.056093 | 0.035406
1564 | 0.051505 | 0.035668
1565 | 0.050239 | 0.03567
1566 | 0.052251 | 0.034041
1567 | 0.057827 | 0.032237
1568 | 0.067949 | 0.033613
1569 | 0.078099 | 0.034814
1570 | 0.088326 | 0.035185
1571 | 0.099015 | 0.035992
1572 | 0.10646 | 0.036356
1573 | 0.1098 | 0.035908
1574 | 0.1098 | 0.035173
1575 | 0.10894 | 0.033949
1576 | 0.11189 | 0.033373
1577 | 0.11907 | 0.033544
1578 | 0.12805 | 0.035734
1579 | 0.14114 | 0.032923
1580 | 0.15572 | 0.031087
1581 | 0.17002 | 0.033523
1582 | 0.18664 | 0.032273
1583 | 0.20323 | 0.030926
1584 | 0.21882 | 0.03152
1585 | 0.23372 | 0.031618
1586 | 0.25082 | 0.032111
1587 | 0.2649 | 0.031363
1588 | 0.27291 | 0.029977
1589 | 0.27956 | 0.026716
1590 | 0.28178 | 0.025404
1591 | 0.2799 | 0.026119
1592 | 0.2767 | 0.026469
1593 | 0.26812 | 0.026407
1594 | 0.25564 | 0.026482
1595 | 0.24088 | 0.027646
1596 | 0.22242 | 0.028965
1597 | 0.20342 | 0.030153
1598 | 0.18545 | 0.03089
1599 | 0.1695 | 0.033817
1600 | 0.15449 | 0.035028
1601 | 0.14084 | 0.036779
1602 | 0.12853 | 0.038959
1603 | 0.11772 | 0.039326
1604 | 0.10543 | 0.041228
1605 | 0.094396 | 0.042974
1606 | 0.090223 | 0.041549
1607 | 0.08931 | 0.040285
1608 | 0.090703 | 0.04007
1609 | 0.092856 | 0.039366
1610 | 0.094349 | 0.039997
1611 | 0.094222 | 0.037402
1612 | 0.092176 | 0.033222
1613 | 0.088408 | 0.032973
1614 | 0.08121 | 0.035903
1615 | 0.07596 | 0.039177
1616 | 0.075087 | 0.039192
1617 | 0.071254 | 0.034935
1618 | 0.068627 | 0.033069
1619 | 0.068757 | 0.032876
1620 | 0.071115 | 0.033243
1621 | 0.069576 | 0.03278
1622 | 0.065939 | 0.031282
1623 | 0.061606 | 0.030182
1624 | 0.057632 | 0.029596
1625 | 0.055758 | 0.029695
1626 | 0.056073 | 0.030174
1627 | 0.057944 | 0.02867
1628 | 0.061201 | 0.031853
1629 | 0.066234 | 0.032954
1630 | 0.072215 | 0.031709
1631 | 0.075701 | 0.032128
1632 | 0.078037 | 0.031495
1633 | 0.07856 | 0.032237
1634 | 0.076822 | 0.032902
1635 | 0.075311 | 0.033375
1636 | 0.070088 | 0.032653
1637 | 0.063358 | 0.031148
1638 | 0.059069 | 0.031897
1639 | 0.055724 | 0.033814
1640 | 0.054046 | 0.034797
1641 | 0.053866 | 0.035925
1642 | 0.052158 | 0.036994
1643 | 0.049756 | 0.037876
1644 | 0.049526 | 0.036966
1645 | 0.052512 | 0.034401
1646 | 0.052114 | 0.034587
1647 | 0.052754 | 0.03645
1648 | 0.056733 | 0.038511
1649 | 0.061236 | 0.039704
1650 | 0.06586 | 0.039503
1651 | 0.069561 | 0.038519
1652 | 0.07041 | 0.036138
1653 | 0.066695 | 0.035402
1654 | 0.064272 | 0.034569
1655 | 0.063236 | 0.033263
1656 | 0.059733 | 0.03392
1657 | 0.057981 | 0.035517
1658 | 0.0576 | 0.036248
1659 | 0.058216 | 0.035783
1660 | 0.058877 | 0.03405
1661 | 0.059333 | 0.031664
1662 | 0.057873 | 0.029952
1663 | 0.053028 | 0.027498
1664 | 0.0495 | 0.026668
1665 | 0.048302 | 0.027826
1666 | 0.049062 | 0.029866
1667 | 0.052232 | 0.03244
1668 | 0.059263 | 0.03002
1669 | 0.063161 | 0.029466
1670 | 0.063709 | 0.032387
1671 | 0.065239 | 0.035312
1672 | 0.065261 | 0.037319
1673 | 0.065098 | 0.037681
1674 | 0.065692 | 0.036952
1675 | 0.066062 | 0.036951
1676 | 0.067203 | 0.035236
1677 | 0.06725 | 0.033115
1678 | 0.066375 | 0.031356
1679 | 0.061902 | 0.03214
1680 | 0.058415 | 0.036199
1681 | 0.059043 | 0.040438
1682 | 0.06015 | 0.042071
1683 | 0.064873 | 0.043262
1684 | 0.070318 | 0.043562
1685 | 0.074204 | 0.042272
1686 | 0.078375 | 0.038747
1687 | 0.079247 | 0.032876
1688 | 0.079306 | 0.028019
1689 | 0.083575 | 0.027736
1690 | 0.091796 | 0.032245
1691 | 0.097554 | 0.037666
1692 | 0.10287 | 0.042274
1693 | 0.11189 | 0.044325
1694 | 0.12065 | 0.0441
1695 | 0.12904 | 0.044004
1696 | 0.13766 | 0.042708
1697 | 0.14659 | 0.038447
1698 | 0.15502 | 0.035152
1699 | 0.16443 | 0.03437
1700 | 0.17204 | 0.034041
1701 | 0.16949 | 0.034982
1702 | 0.16891 | 0.03347
1703 | 0.16929 | 0.031939
1704 | 0.16645 | 0.031737
1705 | 0.16251 | 0.031987
1706 | 0.15934 | 0.033028
1707 | 0.15672 | 0.033002
1708 | 0.15157 | 0.031965
1709 | 0.14094 | 0.03223
1710 | 0.12907 | 0.032853
1711 | 0.11639 | 0.032432
1712 | 0.10873 | 0.032744
1713 | 0.1007 | 0.031026
1714 | 0.093366 | 0.029517
1715 | 0.088944 | 0.030169
1716 | 0.087086 | 0.034018
1717 | 0.083083 | 0.034197
1718 | 0.07807 | 0.034134
1719 | 0.070788 | 0.034948
1720 | 0.067113 | 0.034133
1721 | 0.067233 | 0.034088
1722 | 0.068525 | 0.035955
1723 | 0.070794 | 0.038332
1724 | 0.075797 | 0.041756
1725 | 0.079392 | 0.040429
1726 | 0.080272 | 0.038072
1727 | 0.077517 | 0.03722
1728 | 0.075914 | 0.037355
1729 | 0.073478 | 0.037449
1730 | 0.069626 | 0.035414
1731 | 0.066515 | 0.033139
1732 | 0.059149 | 0.032721
1733 | 0.053126 | 0.034619
1734 | 0.051082 | 0.036102
1735 | 0.05071 | 0.033481
1736 | 0.05507 | 0.035239
1737 | 0.05952 | 0.040132
1738 | 0.062371 | 0.042545
1739 | 0.062958 | 0.042765
1740 | 0.062462 | 0.040185
1741 | 0.062401 | 0.036703
1742 | 0.060588 | 0.035074
1743 | 0.060478 | 0.033457
1744 | 0.061088 | 0.03109
1745 | 0.0645 | 0.029925
1746 | 0.070391 | 0.032251
1747 | 0.071383 | 0.035224
1748 | 0.070687 | 0.034881
1749 | 0.070513 | 0.035295
1750 | 0.071309 | 0.035756
1751 | 0.07332 | 0.036721
1752 | 0.071839 | 0.037819
1753 | 0.067149 | 0.037572
1754 | 0.062732 | 0.035478
1755 | 0.062616 | 0.033711
1756 | 0.066009 | 0.031491
1757 | 0.069335 | 0.030076
1758 | 0.072382 | 0.028817
1759 | 0.070976 | 0.028156
1760 | 0.068513 | 0.027363
1761 | 0.066306 | 0.027228
1762 | 0.063248 | 0.027336
1763 | 0.057928 | 0.029659
1764 | 0.059215 | 0.034313
1765 | 0.065297 | 0.039804
1766 | 0.072212 | 0.041673
1767 | 0.077541 | 0.041516
1768 | 0.077666 | 0.04068
1769 | 0.074151 | 0.03927
1770 | 0.073445 | 0.039163
1771 | 0.070235 | 0.0373
1772 | 0.068944 | 0.036854
1773 | 0.065405 | 0.036432
1774 | 0.064685 | 0.034148
1775 | 0.06401 | 0.035221
1776 | 0.06092 | 0.036789
1777 | 0.056301 | 0.037002
1778 | 0.04989 | 0.037119
1779 | 0.046899 | 0.03536
1780 | 0.045283 | 0.033868
1781 | 0.042461 | 0.032003
1782 | 0.045478 | 0.030793
1783 | 0.047848 | 0.030639
1784 | 0.046457 | 0.029129
1785 | 0.045801 | 0.028799
1786 | 0.045858 | 0.031252
1787 | 0.046875 | 0.034178
1788 | 0.048782 | 0.037685
1789 | 0.052986 | 0.040717
1790 | 0.057385 | 0.042021
1791 | 0.061457 | 0.037706
1792 | 0.064681 | 0.032478
1793 | 0.064094 | 0.030846
1794 | 0.059131 | 0.030252
1795 | 0.0545 | 0.03054
1796 | 0.051084 | 0.03186
1797 | 0.048591 | 0.033281
1798 | 0.047515 | 0.033957
1799 | 0.048353 | 0.034471
1800 | 0.051598 | 0.039078