1. Overview

This report summarizes the computational and experimental work conducted toward developing a Raman spectroscopy-based detection framework for bacterial biomarkers. The study spans five interconnected sub-studies, integrating Density Functional Theory (DFT) simulations with experimental Raman measurements to characterize molecules relevant to bacterial cell walls — specifically those associated with Lipoteichoic Acid (LTA), a major virulence factor of Gram-positive bacteria.

2. Work Completed

2.1 Rhodamine B — DFT Validation and Benchmarking

The first phase involved benchmarking our DFT methodology against Rhodamine B, a well-characterized reference molecule, to validate the computational approach before applying it to complex biomolecules.

| Parameter | Literature DFT | Present Work |
| --- | --- | --- |
| Software | Gaussian 09 | Gaussian 16 |
| Functional | B3LYP | B3LYP |
| Basis Set | 6-31G | 6-31G(d) |
| Mean Absolute Deviation | ~2–4 cm⁻¹ | ~6–10 cm⁻¹ |

Key vibrational bands at 619, 1193, 1275, and 1642 cm⁻¹ were compared against experimental and literature DFT values. The inclusion of polarization functions in 6-31G(d) produced slightly larger deviations at some bands due to mode splitting, but all results fell within acceptable harmonic DFT accuracy. Our C–H bending assignment (1273.92 cm⁻¹) showed closer agreement with experiment than the literature value.

2.2 N-Acetylmuramic Acid (NAM) — Experimental Raman + DFT

NAM, a unique component of the bacterial peptidoglycan layer, was characterized using both experimental Raman spectroscopy and DFT simulation. A systematic spectral quality optimization was carried out across 81 spectra varying laser power and integration time.

- Savitzky–Golay smoothing, ALS baseline correction, and composite SNR scoring were applied to select the optimal spectrum (25 s, 80% power; SNR = 95.9).

- DFT frequencies were calculated at B3LYP/6-31G(d) level with a 0.96 scaling factor.

- 51 peaks were matched within ±10 cm⁻¹ tolerance, achieving a mean error of 0.38 cm⁻¹ and RMSE of 2.12 cm⁻¹.

- Key assignments: C=O stretch (1701 cm⁻¹), Amide II (1546 cm⁻¹), C–O stretch (1086 cm⁻¹), pyranose ring breathing (956 cm⁻¹), glycosidic linkage (872 cm⁻¹).

2.3 Glycerol–Phosphate Fragment — LTA Backbone Model

To model the poly(glycerol–phosphate) backbone of LTA, a representative two-unit fragment was constructed in Avogadro and subjected to DFT simulation in Gaussian 16.

- Geometry pre-optimized using Universal Force Field (UFF) in Avogadro before quantum mechanical refinement.

- DFT parameters: B3LYP/6-31G(d), Opt + Freq + Raman, SMD implicit water solvent.

- Calculation converged successfully with no imaginary frequencies. Final energy: −1748.81 Hartree.

- Key Raman assignments: O–P–O bending (481 cm⁻¹), P–O–C stretching (922 cm⁻¹), O–H deformation (1291 cm⁻¹), C–H stretching (3046–3091 cm⁻¹).

2.4 D-Alanine — Amino Substituent of LTA

D-Alanine, which esterifies the glycerol–phosphate backbone of LTA to regulate surface charge and immune interactions, was simulated in its biologically relevant zwitterionic form (NH₃⁺–CH(CH₃)–COO⁻).

- Molecular structure sourced from PubChem (CID: 71080); optimized using MMFF94 force field in Avogadro.

- DFT simulation: B3LYP/6-31G(d), SMD water, Freq=Raman.

- Spectral assignments correctly reflect the zwitterionic state: NH₃⁺ deformation (~1660 cm⁻¹), COO⁻ asymmetric stretch (~1560–1600 cm⁻¹), CH₃ deformation (~1440 cm⁻¹).

- These features serve as diagnostic markers for amino acid substituents in LTA-related Raman analysis.

2.5 N-Acetyl-D-Glucosamine (GlcNAc) — Carbohydrate Component

GlcNAc, representing the carbohydrate surface components of LTA-associated bacterial structures, was simulated to obtain its Raman fingerprint.

- Pyranose ring structure with acetamide group (–NHCOCH₃) and multiple hydroxyl groups.

- Dominant spectral features: C–O–C ring stretching (900–1100 cm⁻¹), Amide I C=O stretch (~1650 cm⁻¹), Amide III (~1250–1300 cm⁻¹), and strong C–H stretching (2800–3000 cm⁻¹).

- These carbohydrate signatures provide a distinct fingerprint region for identifying GlcNAc-containing bacterial structures.

3. Component-Based Spectral Reconstruction of LTA

Given the computational infeasibility of simulating the full LTA polymer, a modular decomposition strategy was employed. The three simulated components — glycerol–phosphate, D-alanine, and GlcNAc — were combined to reconstruct a composite Raman fingerprint of LTA.

| Spectral Region (cm⁻¹) | Dominant Component | Assignment |
| --- | --- | --- |
| 700–900 | Glycerol–Phosphate | P–O–C vibrations |
| 900–1100 | GlcNAc + Glycerol–P | C–O–C + PO stretching |
| 1200–1300 | All components | C–O / Amide III |
| 1500–1660 | D-Alanine + GlcNAc | NH₃⁺ deformation + Amide I |
| 2800–3000 | All components | C–H stretching |

The simultaneous presence of phosphate vibrations, carbohydrate signatures, and amino acid spectral features provides a robust multi-band strategy for identifying LTA in experimental Raman spectra.

4. Experimental Raman Study of LTA

In addition to the computational work, experimental Raman spectra of LTA powder (Sigma-Aldrich) were collected using a 785 nm excitation laser. The effect of varying laser power (40%, 50%, 60%, 70%) on signal quality was investigated with a fixed integration time of 10 seconds and 10 accumulations. This study aims to determine optimal measurement conditions and assess the feasibility of detecting LTA using standard (non-SERS) Raman spectroscopy.

5. Key Outcomes

- Validated B3LYP/6-31G(d) as an appropriate level of theory for biomolecular Raman simulation.

- Established optimal Raman acquisition conditions for NAM: 25 s integration, 80% laser power.

- Achieved excellent DFT–experiment agreement for NAM (RMSE = 2.12 cm⁻¹, 51 matched peaks).

- Successfully modeled all three structural components of LTA through individual DFT simulations.

- Proposed a component-based spectral reconstruction strategy for identifying complex bacterial macromolecules like LTA.

- Initiated experimental Raman characterization of LTA under varying acquisition parameters.

6. Significance

This body of work contributes to the development of a Raman spectroscopy-based framework for rapid, label-free detection of bacterial biomarkers. The DFT-validated spectral assignments provide a reliable reference library for interpreting experimental Raman signals from bacterial samples, with direct relevance to biosensor development for sepsis diagnostics — aligning with ongoing work on SERS-based nano-biosensors for rapid bacterial identification in clinical settings.