FINAL: SIMULATION vs LITERATURE (NAM – DFT MATCH)

Peak Matching Table (200–1800 cm⁻¹)

| Mode | Your Sim (cm⁻¹) | Lit Scaled (cm⁻¹) | Error | Assignment |
| --- | --- | --- | --- | --- |
| 1 | 216.1 | 214.19 | ~2 | CH rocking (ρ) |
| 2 | 282.5 | 292.65 | ~10 | Torsion (τ) |
| 3 | 447.3 | 425.87 | ~21 | Skeletal bending |
| 4 | 514.2 | — (~500–560 region) | ~20 | Ring deformation |
| 5 | 562.4 | 558.93 | ~3 | C–O bending (δ) |
| 6 | 624.2 | 582–658 | ~20–40 | C–N / skeletal |
| 7 | 712.9 | 658–732 | ~20–50 | Ring torsion |
| 8 | 777.8 | 732.20 | ~45 | Ring vibration |
| 9 | 804.9 | ~875 (near) | ~70 | CH deformation |
| 10 | 893.5 | 875.62 | ~18 | CH rocking |
| 11 | 965.7 | 933.85 | ~32 | C–O / C–N |
| 12 | 1009.5 | 1010.51 | ~1 | C–O–C (ether, NAM) |
| 13 | 1078.3 | 1056.18 | ~22 | C–O stretch |
| 14 | 1156.9 | 1102.39 | ~54 | Glycosidic (C–O–C) |
| 15 | 1260.1 | 1233.78 | ~26 | Amide III |
| 16 | 1347.4 | 1318.78 | ~29 | CH bending |
| 17 | 1431.4 | 1372–1459 | ~20–60 | CH₂ / CH₃ |
| 18 | 1508.0 | 1535.13 | ~27 | Amide II |
| 19 | 1652.7 | ~1676.99 | ~24 | C=O (Amide I) |
| 20 | 1725.1 | ~1676–1763 | ~40 | Carbonyl stretch |

IMPORTANT MATCHES
1. 1009.5 ≈ 1010.5 cm⁻¹

Perfect match

From literature: ν(C–O–C)

This is: NAM SIGNATURE PEAK (ETHER / LACTYL GROUP)

2. 1652.7 ≈ 1676 cm⁻¹

Amide I
Confirms: N-acetyl group

3. 1508 ≈ 1535 cm⁻¹

Amide II

4. 1347 ≈ 1318 cm⁻¹ 
CH bending

ERROR ANALYSIS

Observations:

- Low region (<1000): ~2–30 cm⁻¹

- Mid region: ~20–40 cm⁻¹

- High region: ~20–50 cm⁻¹

The simulated Raman frequencies of N-acetylmuramic acid show strong agreement with literature-reported DFT-scaled frequencies, particularly for key functional groups such as ether linkage, amide vibrations, and carbohydrate backbone modes.

Final Scientific Conclusion

In the present study, Raman spectroscopy of high-purity N-acetylmuramic acid powder was used to establish the characteristic spectral fingerprint of NAM. Identification is based on the collective pattern of multiple Raman bands rather than any single peak, since individual vibrations may also appear in other biomolecules. Direct comparison with whole bacterial spectra is limited because bacterial samples contain proteins, lipids, nucleic acids, and other overlapping components. Therefore, the most appropriate validation is comparison between the experimental pure NAM spectrum and DFT-simulated NAM spectrum, where strong agreement was observed. The obtained pure NAM spectrum can now serve as a reference control for future analysis of complex biological or bacterial samples.

Short Version for Verbal Presentation

A single peak cannot confirm NAM. We identify NAM using the full Raman fingerprint pattern. Since our sample is pure NAM powder, the best comparison is with simulated pure NAM data, not whole bacterial spectra, because bacterial samples contain many overlapping biomolecules. Our pure spectrum can now be used as a reference for future mixed or biological samples.

Final Verdict for Your Guide

Yes, comparison is possible, but it should be presented as a qualitative and supportive comparison rather than a strict molecular validation. For direct validation, pure NAM experimental data should be compared with pure NAM simulation or pure-compound literature.

Experimental vs Simulation

| Peak No. | Experimental Peak (cm⁻¹) | Simulated Peak (cm⁻¹) | Difference (cm⁻¹) | Tentative Assignment | Interpretation |
| --- | --- | --- | --- | --- | --- |
| 1 | 231.4 | 216.1 | -15.3 | Skeletal / lattice mode | Low-frequency framework vibration |
| 2 | 284.3 | 282.5 | -1.8 | Ring deformation | Excellent agreement |
| 3 | 458.2 | 447.3 | -10.9 | Pyranose / ring deformation | Acceptable low-frequency shift |
| 4 | 489.0 | 514.2 | +25.2 | Ring / C–O skeletal mode | Coupled mode shift possible |
| 5 | 541.0 | 562.4 | +21.4 | C–C–O deformation | Moderate shift, environment effect |
| 6 | 613.7 | 624.2 | +10.5 | C–O bending / skeletal | Good agreement |
| 7 | 704.2 | 712.9 | +8.7 | C–C / ring mode | Good agreement |
| 8 | 772.7 | 777.8 | +5.1 | Ring / CH wagging | Excellent agreement |
| 9 | 830.2 | 804.9 | -25.3 | Anomeric C–H / glycosidic mode | Sensitive to conformation |
| 10 | 871.9 | 893.5 | +21.6 | C–O–C stretch | Glycosidic region matched |
| 11 | 955.9 | 965.7 | +9.8 | Pyranose ring breathing | Strong structural match |
| 12 | 1024.0 | 1009.5 | -14.5 | C–O stretch | Carbohydrate fingerprint region |
| 13 | 1059.2 | 1078.3 | +19.1 | Alcohol / C–O stretch | Acceptable shift |
| 14 | 1128.8 | 1156.9 | +28.1 | C–O–C / C–C stretch | Broad coupled carbohydrate mode |
| 15 | 1155.4 | 1156.9 | +1.5 | C–O–C stretch | Excellent agreement |
| 16 | 1249.4 | 1260.1 | +10.7 | C–N / OH deformation | Good agreement |
| 17 | 1345.9 | 1347.4 | +1.5 | CH deformation | Excellent agreement |
| 18 | 1451.8 | 1431.4 | -20.4 | CH₂ / CH₃ bending | Common intensity-rich region |
| 19 | 1547.9 | 1508.0 | -39.9 | Amide II / coupled mode | Larger shift, mode mixing likely |
| 20 | 1700.7 | 1725.1 | +24.4 | C=O stretch | Carbonyl region matched |

Key Findings for Slide

Strong Matches (Excellent Agreement)

Peaks with very small shift (≈0–5 cm⁻¹):

- 284.3 ↔ 282.5

- 772.7 ↔ 777.8

- 1155.4 ↔ 1156.9

- 1345.9 ↔ 1347.4

Good Matches (Acceptable)

Many peaks fall within:

±10 to ±20 cm⁻¹

which is common in Raman vs DFT comparison.

Larger Shifts

Observed in some peaks due to:

- solid-state vs isolated molecule effects

- hydrogen bonding

- anharmonicity

- basis set limitations

- coupled vibrational modes

- experimental environment

Final Scientific Conclusion for PPT

The experimental Raman spectrum of pure N-acetylmuramic acid shows strong agreement with the simulated vibrational spectrum across the major fingerprint regions. Characteristic bands corresponding to carbohydrate backbone vibrations, glycosidic linkages, ring modes, CH deformations, and carbonyl stretching were successfully identified. Minor peak shifts are expected due to differences between theoretical isolated-molecule calculations and real solid-state powder measurements. Overall, the results confirm that the measured spectrum is consistent with N-acetylmuramic acid and establish a validated reference spectrum for future bacterial biomarker studies.

1. Title of the Work

Fragment-Based Raman Modelling and Experimental Validation of Lipopolysaccharide (LPS) Using Computational Simulation and Spectral Fitting

2. Background and Problem Statement

Lipopolysaccharide (LPS) is a major structural component of the outer membrane of Gram-negative bacteria and is strongly associated with endotoxin-mediated inflammation and sepsis. Detecting and understanding the Raman fingerprint of LPS is challenging because:

- LPS is a large and structurally complex biomolecule

- It contains lipid, phosphate, and multiple sugar units

- Experimental Raman spectra are broad and overlapping

- Full quantum simulation of intact LPS is computationally difficult

Therefore, a fragment-based modelling strategy was used.

3. Objective

The objectives of this work were:

- Acquire experimental Raman spectra of LPS powder

- Optimize Raman acquisition parameters

- Simulate representative molecular fragments of LPS using Gaussian

- Build a composite model from simulated spectra

- Compare simulated and experimental spectra quantitatively

- Identify dominant molecular contributors in the Raman fingerprint

4. Why Fragment-Based Modelling Was Used

Instead of simulating the full LPS molecule, representative fragments were selected because full LPS contains many atoms and is computationally expensive.

The selected fragments represent major structural regions of LPS:

| Fragment | Represents |
| --- | --- |
| KDO | Core oligosaccharide marker |
| Heptose | Core sugar |
| D-Glucosamine | Lipid A backbone |
| Myristic Acid | Fatty acid chains |
| Phosphoric Acid | Phosphate functionality |

This reduces computational cost while preserving chemical meaning.

5. Computational Simulation Method

Software Used

- Gaussian

Level of Theory

- DFT (Density Functional Theory)

- B3LYP / 6-31G(d)

Calculation Performed

- Geometry optimization

- Frequency calculation

- Raman activity generation

Output Obtained

For each fragment:

- Raman peak positions

- Relative intensities

- Simulated molecular fingerprint spectrum

6. Experimental Raman Study

Sample Used

- LPS powder

Purpose

To obtain the real measured Raman fingerprint and compare it with simulation.

7. Why Parameter Optimization Was Necessary

Initial Raman spectra can vary depending on:

- laser power

- integration time

- number of accumulations

- signal-to-noise ratio

- risk of thermal damage

Therefore, multiple experimental settings were tested.

8. Experimental Settings Tried

Different combinations of:

- 10 sec

- 20 sec

- 30 sec

- 60 sec

with different laser powers and accumulations were tested.

Examples:

- 10 sec, 20 power, 5 accumulations

- 20 sec, 20 power, 5 accumulations

- 30 sec settings

- 60 sec, 20 power, 30 accumulations

9. Why 60 sec / 20 power / 30 accumulations Was Selected

This condition gave the best balance between:

- stronger Raman signal

- improved peak visibility

- lower noise

- better reproducibility

- no severe damage observed

Longer integration collects more photons, while multiple accumulations improve averaging.

Thus, this setting was selected as the final experimental dataset.

Experimental file used:

sec-60_power-20_i-30

10. Experimental Data Processing

The raw experimental Raman data was processed before comparison.

Steps Used

- Excel file import

- Numeric cleaning

- Baseline correction (ALS)

- Savitzky-Golay smoothing

- Normalization

- Cropping to selected Raman range

11. Why Baseline Correction Was Applied Only to Experimental Data

Experimental spectra contain:

- fluorescence background

- detector drift

- baseline slope

Simulated spectra do not contain these effects.

Therefore:

- Baseline correction applied only to experimental data

- Not applied to simulated spectra

12. Raman Range Used for Final Analysis

The final comparison window was:

200–2000 cm⁻¹

This region contains the most important fingerprint bands for:

- sugars

- phosphate groups

- lipid vibrations

- molecular backbone modes

13. How Simulated Spectra Were Processed

Each fragment spectrum was:

- Imported from Excel

- Frequency-scaled

- Normalized

- Interpolated to a common grid

No baseline correction was applied.

14. Why a Common Grid Was Needed

Experimental and simulated spectra may have different x-axis points.

To compare them fairly, all spectra were interpolated to the same grid:

- 200 to 2000 cm⁻¹

- 1 cm⁻¹ spacing

This allows direct point-by-point comparison.

15. First Comparison Method: Equal-Weight Composite

All five fragment spectra were averaged equally:

ILPS=I1+I2+I3+I4+I55

Purpose:

- unbiased baseline model

- simple first approximation

16. Final Comparison Method: NNLS Optimization

A better model was built using:

Non-Negative Least Squares (NNLS)

The experimental spectrum was fitted as:

Ifit=w1I1+w2I2+w3I3+w4I4+w5I5

Where:

- wi≥0

- weights normalized to sum = 1

This gives the best non-negative combination of fragments.

17. Why NNLS Was Used

NNLS is suitable because:

- negative chemical contributions are not physically meaningful

- gives optimal weights

- robust for mixture modelling

- commonly used in spectral decomposition

18. Final Output Weights

| Fragment | Weight |
| --- | --- |
| KDO | 0.473 |
| Heptose | 0.258 |
| D-Glucosamine | 0.153 |
| Myristic Acid | 0.117 |
| Phosphoric Acid | 0.000 |

19. Interpretation of Weights

Dominant Contributors

KDO (47.3%)

Strongest contributor. Indicates major influence of LPS core-region sugar vibrations.

Heptose (25.8%)

Second highest contribution. Supports importance of core oligosaccharide.

Glucosamine (15.3%)

Represents lipid A backbone contribution.

Myristic Acid (11.7%)

Represents lipid-related vibrations.

Phosphoric Acid (0%)

No unique contribution under current fitting conditions, likely due to overlap with other bands.

20. Model Quality Metrics

| Metric | Value |
| --- | --- |
| RMSE | 0.1850 |
| R² | 0.1799 |
| Correlation | 0.5078 |

21. What These Metrics Mean

RMSE

Average fitting error. Lower is better.

R²

How much spectral variance is explained by the model.

Correlation

Similarity of shape between fitted and experimental spectra.

The optimized model performed better than the equal-weight model.

22. Key Scientific Findings

- Fragment-based modelling can partially reconstruct the LPS Raman spectrum

- Core sugars dominate the observed fingerprint

- KDO is the strongest contributor

- Equal-weight averaging is weaker than optimized fitting

- Simulation + experiment can be combined for molecular interpretation

23. Why the Fit Is Not Perfect

Real LPS powder contains effects not fully captured by isolated fragments:

- intermolecular interactions

- hydrogen bonding

- hydration

- conformational disorder

- packing effects

- peak shifts

- instrument noise

Therefore, moderate mismatch is expected.

24. Advantages of This Work

- Combines experiment and simulation

- Uses chemically meaningful fragments

- Uses quantitative fitting instead of manual guessing

- Reproducible workflow

- Can be extended to other biomarkers

25. Future Improvements

- Add conformers

- Region-wise fitting

- Better phosphate model

- Advanced quantum methods

- Machine learning classification

- More experimental replicates

26. Final Conclusion

This work developed a complete workflow to study the Raman fingerprint of lipopolysaccharide using both experimental spectroscopy and computational modelling. Experimental Raman conditions were optimized, and the best dataset was selected using signal quality and reproducibility. Representative LPS fragments were simulated using DFT, then combined using NNLS fitting to reconstruct the measured spectrum.

The results showed that KDO and heptose were the dominant contributors, indicating that carbohydrate-rich core structures strongly influence the observed LPS Raman fingerprint. This demonstrates that fragment-based computational Raman analysis is a practical and scientifically meaningful strategy for interpreting complex biomolecular spectra.

Slide 1: Background and Objective

Title

Raman-Based Identification of Lipopolysaccharide (LPS) Using Experimental and Computational Analysis

Background

- Lipopolysaccharide (LPS) is a major component of Gram-negative bacterial outer membranes.

- It is strongly associated with inflammation, endotoxemia, and sepsis.

- Rapid identification of LPS-related spectral fingerprints can support diagnostic research.

- Raman spectroscopy provides label-free molecular fingerprinting.

Problem Statement

- Full LPS is structurally large and complex.

- Direct spectral interpretation is difficult due to overlapping bands and multiple functional groups.

Objective

- Acquire Raman spectra of LPS powder under optimized conditions.

- Build fragment-based computational models representing major LPS substructures.

- Compare simulated and experimental spectra.

- Identify dominant contributors and characteristic Raman bands.

Slide 2: Methodology

Experimental Workflow

- Sample: LPS powder

- Raman measurements performed under multiple acquisition settings:

  - Different integration times

  - Different laser powers

  - Different accumulations

- Best experimental condition selected based on signal quality and reproducibility.

Optimized Condition Chosen

- 60 s integration

- 20% laser power

- 30 accumulations

Computational Workflow

Representative fragments selected:

- KDO

- Heptose

- D-Glucosamine

- Myristic Acid

- Phosphoric Acid

Simulation Method

- Geometry optimization

- Frequency + Raman calculations

- DFT using B3LYP / 6-31G(d)

Data Processing

- Interpolation to common Raman grid

- Normalization

- Composite model generation:

  - Equal-weight model

  - NNLS optimized model

Slide 3: Results and Key Findings

Experimental Optimization

- Multiple spectra were compared to determine best signal-to-noise ratio.

- 60 s / 20% / 30 accumulations produced the most stable and interpretable spectrum.

Composite Modeling Results

NNLS Optimized Weights

- KDO: 47.3%

- Heptose: 25.8%

- Glucosamine: 15.3%

- Myristic Acid: 11.7%

- Phosphoric Acid: 0.0%

Interpretation

- Sugar-region fragments contributed most strongly.

- Lipid contribution was present through myristic acid.

- Phosphoric acid showed minimal direct contribution in final fit.

Key Raman Regions Matched

- ~980 cm⁻¹ → carbohydrate / ring vibrations

- ~1130 cm⁻¹ → lipid C–C vibrations

- ~1330–1450 cm⁻¹ → CH deformation modes

- ~1600 cm⁻¹ region → higher-energy structural vibrations

Slide 4: Conclusion and Future Scope

Conclusion

- Raman spectroscopy successfully captured reproducible spectral features from LPS powder.

- Experimental optimization was essential for obtaining high-quality spectra.

- Fragment-based DFT modeling is a practical alternative to full LPS simulation.

- NNLS fitting enabled quantitative comparison between simulation and experiment.

- KDO and Heptose were dominant contributors in the final spectral model.

Scientific Significance

- Demonstrates a workflow combining experiment + simulation + mathematical fitting.

- Supports molecular interpretation of complex biomolecular Raman spectra.

Future Scope

- Add more realistic LPS fragments (lipid A variants, linked sugar units).

- Include SERS substrate-based enhancement studies.

- Apply machine learning classification.

- Extend to real biological samples (serum/plasma).

- Develop rapid biosensing strategies for sepsis diagnostics.

================================================================================

LPS RAMAN/SERS PRESENTATION SLIDES

================================================================================

━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━

SLIDE 1 OF 4 — LPS: Structure, Significance & Modeling Strategy

━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━

WHAT IS LPS?

- Major outer membrane component of Gram-negative bacteria

- Critical biomarker for bacterial sepsis detection

- Three structural components:

1. Lipid A         → toxic core

2. Core oligosaccharide

3. O-antigen

WHY FRAGMENT-BASED DFT MODELING?

- Full LPS = tens of thousands of atoms → computationally infeasible for

full quantum mechanical (QM) modeling

- Representative fragment: Kdo (3-deoxy-D-manno-octulosonic acid) used

as core sugar model

- Validated using DFT: B3LYP / 6-31G(d,p) in Gaussian 03

- Solvation effects included via PCM + explicit water molecules

- DFT results agree with NMR and spectroscopic experiments

KEY FUNCTIONAL GROUPS (dominate spectra):

- –COO⁻  carboxyl

- –PO₄⁻  phosphate

- –OH     hydroxyl

- CH₂/CH₃ lipid chains

→ Responsible for metal binding, structural stability, and vibrational

signatures — the basis of the Raman fingerprint

IMPORTANT NOTE:

The same DFT framework that produces IR spectra also yields Raman activity —

directly applicable to this work.

REFERENCES:

- DFT Kdo study (Gaussian 03, B3LYP)

- "Lipopolysaccharide Membrane Building and Simulation"

━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━

SLIDE 2 OF 4 — Raman/SERS Spectral Fingerprint of LPS

━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━

KEY CHARACTERISTIC PEAKS (detailed):

┌─────────────────┬────────────────────────────────────────┬──────────────────┐

│ Peak (cm⁻¹)     │ Assignment                             │ Origin           │

├─────────────────┼────────────────────────────────────────┼──────────────────┤

│ ~735            │ C–O–C glycosidic linkage               │ Sugar            │

│ ~794            │ C–O stretching                         │ Sugar            │

│ ~857            │ Glycosidic / sugar deformation         │ KEY DISCRIMINATOR│

│ ~894–917        │ Sugar ring vibrations                  │ Sugar            │

│ ~989–1003       │ C–O/C–C, carbohydrate (Kdo/core)       │ Core sugar       │

│ ~1131           │ C–C fatty acid, lipid chain            │ Lipid A          │

│ ~1330–1333      │ CH deformation, lipid chain            │ KEY DISCRIMINATOR│

│ ~1593–1614      │ C–O/C–C stretching, structural         │ KEY DISCRIMINATOR│

│ ~2900–2933      │ CH₂/CH₃, lipid chains of Lipid A       │ SERS marker      │

└─────────────────┴────────────────────────────────────────┴──────────────────┘

BROAD SPECTRAL REGIONS (standard for bacterial analysis):

- 3000–2800 cm⁻¹  →  Fatty acids / lipids (CH₂, CH₃)

- 1700–1500 cm⁻¹  →  Proteins (Amide I, Amide II)

- 1200–900  cm⁻¹  →  Polysaccharides / cell wall (LPS region)

- 900–700   cm⁻¹  →  Fingerprint region

3 MOST COMMON LPS FINGERPRINT PEAKS (Yang et al., 2022):

★  1614 cm⁻¹

★  1333 cm⁻¹

★  1003 cm⁻¹

CRITICAL CONCEPT:

Identification is based on the OVERALL SPECTRAL PATTERN, not any single

peak. Individual peaks may overlap with other biomolecules — multi-peak

pattern recognition is essential.

REFERENCES:

- Wu et al., 2021 (Biosensors, MDPI) — main reference

- Yang et al., 2022 (RSC)

- "Spectroscopic Techniques in Bacterial Analysis" review (MDPI, 2026)

━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━

SLIDE 3 OF 4 — LPS vs PGN vs LTA: Differentiation by Raman

━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━

COMPARATIVE SPECTRAL PROFILE:

LPS (Gram-negative)          PGN (Gram-positive)          LTA (Gram-positive)

Lipid A + Core + O-antigen   Peptidoglycan layer          Lipoteichoic acid

─────────────────────────    ─────────────────────────    ──────────────────────

- Many strong peaks          - Fewer peaks                - Fewer peaks

- Complex, feature-rich      - Simpler spectral profile   - Simpler spectral profile

- Lipid AND carbohydrate      - Mainly carbohydrate/        - Mainly carbohydrate/

signals combined              protein signals               protein signals

- Peaks: 857, 1003,          - Partial overlap at         - Partial overlap at

1333, 1614 cm⁻¹              ~1333 cm⁻¹                   ~1614 cm⁻¹

OVERLAPPING PEAKS (challenge):

- ~1333 cm⁻¹  →  present in LPS, PGN, and LTA

- ~1614 cm⁻¹  →  common in all three biomolecules

→ Single-peak identification is unreliable

→ Must use multi-peak pattern recognition / chemometrics (PCA, ML)

THESIS STATEMENT:

"LPS exhibits more complex and feature-rich Raman spectra compared to

Gram-positive components such as PGN and LTA, which show fewer

characteristic peaks. Although some overlapping bands exist (~1333 and

~1614 cm⁻¹), LPS can be reliably differentiated based on the presence of

multiple characteristic peaks and their spectral patterns."

SERS SAMPLE PREPARATION (Yang et al., 2022):

Source:

- LPS extracted via hot phenol–water method OR purchased (Sigma-Aldrich)

- Control samples: PGN, LTA, Chitin (non-bacterial control)

- 11 different LPS types tested (E. coli, Salmonella, Pseudomonas, etc.)

Purification steps:

1. Bacterial cells treated with phenol + water

2. LPS extracted into water phase

3. Dialysis to remove impurities

4. Freeze-dried for concentration

5. Ethanol washing to remove residual phospholipids

Sample prep for Raman:

- Concentration: 100 µg/mL in deionized water

- Volume: 2 µL deposited on silver nanorod (AgNR) SERS substrate

- Air-dried at room temperature (~20°C)

- Detection achieved at ~8.75 picogram level

Measurement parameters:

- Instrument: Confocal Raman microscope

- Laser: 785 nm excitation

- Laser power: ~9 mW

- Acquisition time: ~10 seconds

- Objective lens: 5× (low magnification)

- Multiple spectra collected per sample for reproducibility

Pre-processing:

- Baseline correction → noise removal → normalization

REFERENCES:

- Yang et al., 2022 (RSC)

- Wu et al., 2021 (Biosensors, MDPI)

━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━

SLIDE 4 OF 4 — SERS Sensitivity, Machine Learning & Key Conclusions

━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━

SERS DETECTION CAPABILITY:

- Limit of Detection (LOD):      12 ng/mL

- Limit of Quantification (LOQ): 41 ng/mL

- Picogram-level detection:      ~8.75 pg per measurement (Yang et al.)

- Uses anti-lipid A antibody → targets most conserved and toxic region

- No labels or dyes required (label-free)

- Faster and simpler than ELISA and LAL test

FREQUENCY-SHIFT SERS CONCEPT:

- Detection based on PEAK SHIFTS, not just peak presence or intensity

- Example: ~2933 cm⁻¹ → ~2922 cm⁻¹ upon LPS binding to antibody

- "Frequency-shift sensing" is more sensitive than traditional methods

- Peak at ~2900 cm⁻¹ → CH₂/CH₃ lipid chains (key SERS marker for LPS)

- Peak at ~1600–1660 cm⁻¹ → protein (antibody structural changes on binding)

MACHINE LEARNING CLASSIFICATION ACCURACY:

┌────────────────────────────────┬────────────┐

│ Model                          │ Accuracy   │

├────────────────────────────────┼────────────┤

│ RamanNet (CNN deep learning)   │ 100%       │  ← best overall

│ SVM (Support Vector Machine)   │ ~99.98%    │  ← best classical

│ LDA (Linear Discriminant)      │ ~99.8%     │

│ Random Forest                  │ ~99.5%     │

│ KNN (K-Nearest Neighbors)      │ ~99.2%     │

│ PLS-DA                         │ ~98%       │

└────────────────────────────────┴────────────┘

→ Even simple classical models achieve >99% accuracy

→ RamanNet captures complex spectral features → perfect classification

TOP 3 PEAKS FOR ML FEATURE IMPORTANCE (most discriminating):

★  857  cm⁻¹  →  sugar/glycosidic deformation

★  1333 cm⁻¹  →  CH deformation / lipid chain

★  1593 cm⁻¹  →  functional group structural interaction

DFT–RAMAN CORRELATION:

- Carbohydrate peaks (~1000 cm⁻¹) → Kdo / core sugars (DFT confirmed)

- Lipid peaks (~1300–1400 cm⁻¹)   → fatty acid chains (DFT confirmed)

- High-frequency modes (~1600 cm⁻¹) → structural interactions

→ Fragment-based DFT (Kdo model) successfully explains observed peaks

LIMITATIONS:

- Overlapping peaks between biomolecules (PGN, LTA)

- Variability in SERS signal due to substrate surface effects

- Complexity of real biological samples (mixed bacterial environment)

→ Requires advanced data analysis + combined experimental + theoretical approach

FINAL THESIS CONCLUSION:

"This study demonstrates that the integration of fragment-based DFT modeling

with Raman/SERS spectroscopy and machine learning provides a robust framework

for understanding and identifying LPS based on its molecular vibrational

fingerprint. LPS exhibits a distinct spectral pattern characterized by multiple

lipid and carbohydrate-associated peaks that, combined with SERS enhancement

and ML classification, enables highly sensitive and accurate detection suitable

for rapid bacterial sepsis diagnosis."

REFERENCES:

- Wu et al., 2021 — Biosensors, MDPI (https://www.mdpi.com/2079-6374/11/7/234)

- Yang et al., 2022 — RSC (SERS + ML classification)

- DFT Kdo study — Gaussian 03, B3LYP/6-31G(d,p)

- Spectroscopic Techniques Review — MDPI 2026

(https://www.mdpi.com/2304-8158/15/4/644)

- SERS Biosensor paper — frequency-shift LPS detection