## Slide 1: Nano-technology enhanced biosensor for early bacterial sepsis detection / Sepsis biomarker analysis using SERS based sensor
Masters Project Report – 3rd Semester
Dr. Mohamed Zaki Hafeez Sukesh P
M24IM1002 M24IM1007
Masters in Medical Technologies
IIT Jodhpur & AIIMS Jodhpur
November 2025

## Slide 2: Clinical Urgency of Sepsis
• 49M cases, 11M deaths annually
• 85% of deaths in low-resource settings
• Delayed diagnosis increases mortality
• Empirical antibiotics prescribed without pathogen knowledge
• Contributing to antimicrobial resistance crisis
• Critical Need: Rapid, bacterial-specific point-of-care diagnostic

## Slide 3: Diagnostic Gap – Problem Statement
• Blood Culture: 24–72 hrs, bacterial-specific, slow
• PCT/CRP Biomarkers: 1–2 hrs, non-specific
• PCR Methods: 1–6 hrs, target-dependent, expensive
• SERS Solution: <30 min, bacterial-specific, novel approach

## Slide 4: Current Diagnostic Methods & Limitations
Blood culture delays ? antibiotic overuse
Biomarkers cannot distinguish bacterial vs viral/fungal
PCR requires pre-selected targets, expensive
Conclusion: Need for novel diagnostic approach

## Slide 6: Background

## Slide 7: Emerging Biosensor Technologies
Electrochemical biosensors: rapid but limited validation
Optical biosensors (SPR): label-free but complex instrumentation
SERS
Why SERS? – Scientific Rationale
• Enhancement factor: 10^6–10^14; ~100x better than alternatives
• Plasmonic enhancement mechanism amplifies Raman signals
• Molecular fingerprinting without labels or amplification
• Clinical feasibility with Au–Ag nanostructures
• Literature support: publications validating SERS

## Slide 10: Project Objectives
Design Ag/Au bimetallic SERS substrates (target EF > 10^8; size 10–100 nm)
Identify Raman signatures: PGN (universal), LPS (Gram–), LTA (Gram+)
Rapid, label-free detection: 50–100 µL plasma; femtomolar sensitivity; total workflow 25–35 minutes
POC feasibility: portable instrumentation; <30 min turnaround; USD 2–5 per test; automated analysis

## Slide 11: Methodology – Workflow
Literature review and biomarker selection
Fabrication of SERS substrates on silicon with Ag/Au nanostructures
Standardization of sample deposition techniques
Raman spectral acquisition using bench-top Raman system
Preprocessing: baseline correction, normalization, noise filtering
Feature extraction and peak assignment
Machine learning–assisted spectral classification (future phase)
Comparative analysis with traditional biomarker assays (planned)

## Slide 14: Work Completed
Extensive Literature survey: research publications analyzed
Biomarker panel selection rationale established
Validated SERS technology for sepsis
Strategic PI and research team review meetings gaining insightful directions
Preliminary wavelength assessment review
Simulations pertaining to Raman optimization and frequency using basic molecules
Initiation of Pure Biomarker Sample Procurement Procedures
Groundwork for Interpretation and analysis of raman spectrum
Planning and Strategy for Next Phase of Work
Exploring Feasibility of Portable, Low-Cost POC Raman Device

## Slide 15: Novelty
No identical patent
Novel use of PGN + LPS + LTA with SERS
Integrated POC SERS workflow = patentable
Competitive Advantage & Market Differentiation
Feature | Blood Culture | PCT/CRP Tests | SERS Biosensor
Time-to-Result | 24-72 hours | ~1 hour | < 30 MINUTES *
Pathogen Specificity | Yes | No | YES (Bacterial & Gram-Type)
AMR Guidance | Delayed | No | IMMEDIATE
Platform | Central Lab | Point-of-Care | POINT-OF-CARE

## Slide 16: Impact
Clinical & Societal Impact
Early targeted therapy = reduced mortality
Narrow-spectrum antibiotics reduce AMR
Affordable point-of-care solution and healthcare savings
Market opportunity
Sepsis diagnostics: $1.14B ? $2.5B (2030)
SERS biosensors: $412M ? $1.38B (2033)
High revenue potential

## Slide 17: Challenges
Reproducibility of SERS substrates across batches with Batch-to-batch nanoparticle variation affecting enhancement factors
Matrix Interference: Blood components cause non-specific signals
Biological variability in plasma samples and Noise/interference in real patient samples
Sensitivity Achievement: Detecting clinically relevant biomarker concentrations requires optimization
Integration of Raman hardware into a compact POC system
Need for large-scale clinical validation
Regulatory approval challenges for medical diagnostics and devices
Clinical Adoption: Overcoming clinical practice inertia and technology skepticism

## Slide 18: Conclusion
• SERS nano-biosensor offers rapid, bacterial-specific sepsis diagnostics
• Novel integrated workflow with Gram classification
• Potential to transform sepsis management globally.
This preliminary project phase has successfully established the scientific and technical foundation for developing a SERS-based nano-biosensor platform for rapid bacterial-specific sepsis diagnostics.

## Slide 19: References
Schultz et al., "Sepsis," Nat. Rev. Dis. Primers, vol. 6, p. 60, 2020.
M. Singer et al., "The Third International Consensus Definitions for Sepsis and Septic Shock (Sepsis-3)," JAMA, vol.315, no. 8,pp. 801–810, 2016.
L. Evans et al., "Surviving Sepsis Campaign: International Guidelines for Management of Sepsis and Septic Shock 2021," Crit. Care Med., vol. 49, no. 11, pp. e1063–e1143, 2021.
J. Langer et al., "Present and Future of Surface-Enhanced Raman Scattering," ACS Nano, vol. 14, no. 1, pp. 28–117, 2019.
C. Zhou et al., "Recent advances and prospects in nanomaterials for bacterial sepsis management," J. Mater. Chem. B, vol. 11, no. 45, pp. 10778–10792, 2023.
M. Hassan et al., "Recent Advances in Bacterial Detection Using Surface-Enhanced Raman Scattering," Biosensors (Basel), vol. 14, no. 8, p. 375, 2024.
C. Derichsweiler et al., "Optical Bionanosensors for Sepsis Diagnostics," Small Methods, vol. 9, no. 1, p. 2301234, 2025.
B. Bonini et al., "Emerging Biosensing Technologies towards Early Sepsis Diagnosis and Management," Biosensors (Basel), vol. 12, no. 10, p. 894, 2022.
P. Sondhi et al., "Nanomaterials for Biosensing Lipopolysaccharide," Biosensors (Basel), vol. 10, no. 1, p. 2, 2019.
C. Mobed et al., "Environmental protection based on the nanobiosensing of bacterial lipopolysaccharides: material and method overview," Environ. Sci. Pollut. Res., vol. 29, pp. 24202–24223, 2022.
E. Nine et al., "SERS-based antibiotic susceptibility testing: Towards point-of-care clinical diagnostics," Biosens. Bioelectron., vol. 219, p. 114830, 2023.
C. Weinstein et al., "Controlled Optimized Broth Media Improves Detection of Bloodstream Infections," J. Clin. Microbiol., vol. 42, no. 10, pp. 4627–4631, 2004.
D. Iredell et al., "Pathogenic Neisseria meningitidis capsular group W135 emerge," Emerg. Infect. Dis., vol. 8, no. 1, pp. 98–102, 2002.
O. Schneewind and D. Missiakas, "Lipoteichoic acids, phosphate-containing polymers in the envelope of gram-positive bacteria," J. Bacteriol., vol. 196, no. 6, pp. 1133–1142, 2014.
N. Kotoulas et al., "Differentiating bacteria by their unique surface interactions," PLoS ONE, vol. 20, no. 6, pe0327489, 2025.
T. Tan and N. S. Mohamad, "Electrochemical Aptamer-Based Biosensors for Sepsis Diagnosis: Recent Advances and Future Perspectives," Biosensors (Basel), vol. 15, no. 7, p. 402, 2025.
Y. Liu et al., "A reproducible gold SERS substrate assisted by silver nanoparticles," Analyst, vol. 141, no. 18, pp. 5170–5178, 2016.
C. H. Lai et al., "Near infrared surface-enhanced Raman scattering based on star-shaped gold/silver nanoparticles," Sci. Rep., vol. 7, p. 5446, 2017.
Y. Yang et al., "Gold and silver nanoparticles for SERS applications," Nanomaterials, vol. 9, no. 7, p. 1014, 2020.
C. C. Burda et al., "Chemistry and properties of nanocrystals of different shapes," Chem. Rev., vol. 105, no. 4, pp. 1025–1102, 2005.

## Slide 20
T. J. Durkin et al., "Rapid Detection of Sepsis: Recent Advances in Biomarker Sensing Platforms," ACS Pharmacol. Transl. Sci., vol. 4, no. 6, pp. 1784–1802, 2021
S.Singhet al."Point-of-Care for Evaluating Antimicrobial Resistance,"ACSPharmacol. Transl. Sci.,vol. 4, no. 6, pp.1838– 1853, 2021
D. Cialla-May et al., "Recent advances of surface enhanced Raman spectroscopy (SERS) in bioanalytical and clinical research," Anal. Bioanal. Chem., vol. 416, pp. 673–704, 2024.
W. Vollmer et al., "Peptidoglycan structure and architecture," FEMS Microbiol. Rev., vol. 32, no. 2, pp. 149–167, 2008.
E. T. Rietschel et al., "Bacterial endotoxin: molecular relationships of structure to activity and function," FASEB J., vol. 8, no. 2,pp. 217–225, 1994.
K. T. Schultz et al., "Point-of-care rapid sepsis diagnostics," Lancet Infect. Dis., vol. 21, no. 1, pp. e1–e14, 2021.
A. Mobed et al., "Bacterial biomarker detection methods," Biosens. Bioelectron., vol. 165, p. 112431, 2020.
World Bank, "Global Sepsis Burden and Economic Impact," 2020.
SNS Insider, "Sepsis Diagnostics Market Report 2032," 2024.
N. E. Dina et al., "SERS-based microdevices for use as in vitro diagnostic biosensors," Chem. Soc. Rev., vol. 53, pp. 1102–1145, 2024.
M. Reali et al., "Novel diagnostics for point-of-care bacterial detection and identification," Chem. Soc. Rev., vol. 48, pp. 1448– 1472, 2019.
Y. Yang et al., "Specific and quantitative detection of bacteria based on surface cell imprinted SERS," Biosens. Bioelectron., vol. 215, p. 114524, 2022.
A. Kundu et al., "Ultrasensitive and label-free detection of biomarkers on AgNP-laden black phosphorus SERS platform," Sens. Diagn., vol. 1, pp. 1156–1167, 2022.
N. Verma et al., "Gram-positive bacterial identification," J. Microbiol. Methods, vol. 179, p. 106086, 2021.
Takahashi et al., "Early antibiotic therapy and survival in sepsis," Crit. Care Med., vol. 45, no. 6, pp. 967–974, 2017.