What is the minimum concentration or amount that this sensor can reliably detect?
(For example: ng/mL, µg/mL, µM, or molecules per sample)


What is the lowest dilution of a sample that can still be detected by the sensor?
(For example: 1:10, 1:100, 1:1,000, etc.)

Which solvents or buffers are compatible with the sensor?
(Water, phosphate buffer, PBS, etc.)

How reproducible are the measurements?
(What is the typical variation between repeated measurements?)

Does the sensor require calibration before use?

- How often is calibration needed?

- Do you provide calibration standards or protocols?

How stable is the sensor over time?

- Shelf life

- Storage conditions (temperature, humidity)

I want to understand the full SERS sensor fabrication workflow so that we can plan procurement, batch production, testing, and reproducibility.


Raw materials & procurement (VERY IMPORTANT)

What are the raw materials required to fabricate one SERS sensor?

Follow-ups:

- Are these commercially available or lab-synthesized?

- Any critical purity requirements? (e.g., 99.9% Ag, Au, solvents)

- Which materials have long lead times for procurement?

- Any materials with short shelf life?

Do any raw materials need special storage conditions?
(Light-sensitive, moisture-sensitive, temperature-controlled)

2 Fabrication process understanding (step-level)

Can you briefly explain the step-by-step process of making one SERS sensor?

Follow-ups:

- Which step is the most critical for sensor performance?

- Which step introduces the maximum variability?

- Are there steps that require strict timing or environmental control (humidity, temperature)?

3 Time required (single sensor & batch)

How much time does it take to fabricate one sensor from start to finish?

Follow-ups:

- Active fabrication time vs waiting/incubation time?

- If done in batches, what is the total batch time?

4 Batch production capacity

How many sensors can be fabricated in one batch?

How many batches can realistically be produced in one day?

Follow-ups:

- Is the process manual or semi-automated?

- What is the bottleneck step limiting daily production?

5 Batch-to-batch uniformity (CRITICAL QUESTION)

How consistent are sensors between different batches?

Follow-ups:

- What is the batch-to-batch variation in signal enhancement?

- Is there any QC metric used to accept or reject a batch?

- How do you minimize variation between batches?

Is there a reference standard used to normalize signals across batches?

6 Within-sensor uniformity (single chip behavior)

Within a single SERS sensor, is the enhancement uniform across the surface?

Follow-ups (very important):

- Can we measure at multiple locations (center + corners)?

- How many spots should be tested per sensor to get reliable data?

- Is there a known edge vs center variation?

Do you recommend mapping the sensor before use?

7 Reusability & lifetime

Is the SERS sensor reusable or single-use?

If reusable:

- How many measurement cycles are reliable?

- What is the cleaning or regeneration process?

- Does reusability affect enhancement factor?

If single-use:

- Why is reuse not recommended?

- Is degradation chemical, physical, or contamination-based?

8 Storage & shelf life (VERY PRACTICAL)

How should the fabricated sensors be stored?

- Temperature?

- Vacuum or ambient?

- Light protection?

What is the shelf life of the sensor before performance degrades?

Follow-up:

How do we know if a stored sensor is still usable?

9 Testing & validation strategy

How do you typically test a newly fabricated sensor?

Follow-ups:

- What standard molecule is used for validation?

- Is there a baseline Raman/SERS signature expected?

- What acceptance criteria define a “good” sensor?

10 Throughput & experimental usage

How many samples can realistically be tested on one sensor?

Follow-ups:

- Can we test multiple analytes on different regions?

- Is cross-contamination an issue?

11 Failure modes & troubleshooting (VERY IMPRESSIVE QUESTION)

What are the common failure modes during fabrication or usage?

Examples:

- Poor enhancement

- High background

- Non-uniform signal

How do you usually troubleshoot these issues?

12 Scaling & future readiness

If we want to scale this sensor for larger studies, what part of the process needs improvement first?

Follow-ups:

- Raw materials?

- Fabrication reproducibility?

- Automation?

13 Documentation & transferability

Is the fabrication protocol documented in detail?

Follow-up:

Can this process be reproduced by a new person, or does it require expert handling?