TASK 1: Target concentration of biomarkers in infant/child blood

LPS / endotoxin in neonates and infants

https://pmc.ncbi.nlm.nih.gov/articles/PMC125316/
Marshall et al., “Measurement of endotoxin activity in critically ill patients” (adult ICU, LAL): mean endotoxin in sepsis ≈ 470 pg/mL vs ≈ 157 pg/mL in non-sepsis; no Gram-negative infection had <50 pg/mL.
All patients with Gram-negative infections had endotoxin levels greater than 50 pg/ml

https://academic.oup.com/jid/article/180/5/1584/806863?login=true
Elevated endotoxin levels were found in 198 (78.3%) of the 253 patient samples analyzed. Plasma endotoxin levels ranged from undetectable (<2 pg/mL) to 5.1 ng/mL. The median value was 300 pg/mL for the 25%–75% interquartile range (110–726 pg/mL), whereas the mean (± SD) value was 581 ± 49 pg/mL.

https://journals.asm.org/doi/10.1128/cdli.9.2.440-445.2002

The levels of sCD14 and LBP in plasma did not differ between the subgroup of newborns with proven S. agalactiae infection (medians, 0.4 and 36.6 μg/ml, respectively

https://www.sciencedirect.com/science/article/abs/pii/S0022346889805573
The preoperative levels of plasma endotoxin were 64±59 pg/mL 



https://www.sciencedirect.com/science/article/abs/pii/S0022347686803833?via%3Dihub
 It was concluded that a plasma endotoxin level of 35 pg (0.10 EU)/ml constitutes the upper limit of normal in children. 


https://www.sciencedirect.com/science/article/abs/pii/S0387760488800974
The level in non-infectious neonates was 6.7 ± 5.1 pg/ml and that in children less than 10 pg/ml.

- Normal < 10 pg/mL

- Upper limit of normal in children:

  - ~35 pg/mL

- Non-infectious neonates:

  - ~6–10 pg/mL

Lipoteichoic acid (LTA) in neonatal or infant blood

https://www.nature.com/articles/s41598-019-42502-5

 paper demonstrates detectability, not concentration

https://pmc.ncbi.nlm.nih.gov/articles/PMC6230575/

| LTA catheter aspirate (ng/mL) | 2.38 ±1.47 (0.1–8.1) |
| --- | --- |
| LTA systemic (ng/mL) | 3.93 ± 3.39 (0.25–15) |

we have exploited the interaction of amphiphilic pathogen biomarkers such as lipopolysaccharides (LPS) from Gram-negative bacteria and lipoteichoic acids (LTA) from Gram-positive bacteria with host lipoprotein carriers in blood, in order to develop two tailored assays – lipoprotein capture and membrane insertion – for their direct detection. Our assays demonstrate a sensitivity of detection of 4 ng/mL for LPS and 2 ng/mL for LTA using a waveguide-based optical biosensor platform that was developed at LANL.

| Sample | LTA concentration |
| --- | --- |
| Catheter aspirate | 0.1 – 8.1 ng/mL |
| Mean (catheter) | 2.38 ± 1.47 ng/mL |
| Systemic blood | 0.25 – 15 ng/mL |
| Mean (systemic) | 3.93 ± 3.39 ng/mL |

Muramic Acid / N-Acetylmuramic Acid

https://onlinelibrary.wiley.com/doi/abs/10.1046/j.1365-2362.1997.1950732.x?sid=nlm%3Apubmed

Presence of muramic acid (as a marker for bacterial cell wall peptidoglycan) was analysed by gas chromatography and mass spectrometry in the peripheral blood leucocytes of subjects from a range of ages (9–80 years) and groups (healthy individuals, patients with rheumatoid arthritis, osteoarthrosis, essential hypertension or multiple sclerosis). Sixty per cent of the sample from the youngest subjects contained detectable muramic acid. The percentage of people with circulating leucocytes containing muramic acid decreased gradually with age, being less than 5% in all groups over 40 years. No clear correlation between the presence of muramic acid and the disease was observed.

TASK 2: Aptamers & Antibodies

LPS – E. coli O111:B4
Aptamer
https://link.springer.com/article/10.1007/s00604-018-3212-9

AuNPs probe 2 was fabricated by modifying the AuNPs with E. coli O111:B4 aptamer, which can specifically recognize the LPS of E. coli O111:B4, resulting a specific probe (S-probe) for typing LPS. In the presence of E. coli O111:B4 LPS, 

Antibody

https://www.sigmaaldrich.com/deepweb/assets/sigmaaldrich/product/documents/345/743/sab4200878dat-mk.pdf

antibody
product 
https://www.sigmaaldrich.com/IN/en/product/sigma/sab4200878?srsltid=AfmBOoqce8nmScdw6mMlCwyPQu-iyrCNZ2pkizyDefVauYRlnW_YwJh4

LTA – Staphylococcus aureus
Aptamer



Antibody
https://pmc.ncbi.nlm.nih.gov/articles/PMC3378709/#sec2

product
Antibody

https://www.origene.com/catalog/antibodies/primary-antibodies/am26274le-n-lipoteichoic-acid-lta-mouse-monoclonal-antibody-clone-id-55

https://www.sigmaaldrich.com/IN/en/product/sigma/sab4200883?srsltid=AfmBOoqz5tklGNptQZvx-a_tG0oVcDg-Y4V7kWj7jPaOMwU1O-KRqFOV

TASK 3: Which solvent has higher solubility
LPS Solubility
https://www.invivogen.com/sites/default/files/lps_b5_tds.pdf
METHODS Preparation of stock solution (5 mg/ml) - Add 1 ml of endotoxin-free water (provided) and homogenize. -  Prepare aliquots of stock solution and store at 4°C. Further dilutions can be prepared using water. Note: LPS-B5 stock solution may appear cloudy. Working concentrations: • TLR4 activity: 100 pg-1 µg/ml • TLR2 activity: 100 ng/ml-1 mg/ml

https://www.sigmaaldrich.com/IN/en/product/sigma/l2630?srsltid=AfmBOopJ5IxaN3mPoKqvLPWTpIuLRReKKSd_Q65-fmafzsScfn9GZqHO
solubility

water: soluble

Preparation Note

The product is soluble in water (5 mg/ml) or cell culture medium (1 mg/ml) yielding a hazy, faint yellow solution. A more concentrated, though still hazy, solution (20 mg/ml) has been achieved in aqueous saline after vortexing and warming to 70-80 oC. Lipopolysaccharides are molecules that form micelles in every solvent. Hazy solutions are observed in water and phosphate buffered saline. Organic solvents do not give clearer solutions. Methanol yields a turbid suspension with floaters, while water yields a homogeneously hazy solution.


https://pmc.ncbi.nlm.nih.gov/articles/PMC1828799/#sec1
The materials extracted from the LPS preparations were characterized only by their biological activities. They are assumed to be peptidoglycan fragments or lipoproteins (25, 26).

The method described fulfilled the objectives of this work: the resulting LPS was not structurally modified, nor was its heterogeneity profile altered as seen by SDS-PAGE and mass spectrometry.

At least three characteristics were appreciated in the proposed repurification method: it is rapid, taking only a few hours, uses very common solvents, and can be used to purify phenol-soluble as well as water-soluble LPSs. The absence of phenol makes the method attractive for other purposes, such as research on pharmaceutics, vaccines, and biological activities.

https://chemistry-europe.onlinelibrary.wiley.com/doi/10.1002/cbic.200390020

LIPOTEICHOIC ACID (LTA) SOLUBILITY AND PREPARATION METHODS

Solubility Comparison for N-Acetylmuramic Acid

https://www.chemicalbook.com/ProductChemicalPropertiesCB6313265_EN.htm

| solubility | DMF: 2.5 mg/ml; DMSO: 30 mg/ml; PBS (pH 7.2): 10 mg/ml |
| --- | --- |
| form | A solid |
| pka | 3.25±0.10(Predicted) |
| color | white |
| biological source | synthetic |
| Water Solubility | water: 50mg/mL, clear, colorless |

https://www.chemicalbook.com/SpectrumEN_10597-89-4_Raman.htm
spectra

| Biomarker / Solvent | Water | PBS (pH 7.2–7.4) | DMSO | DMF | Ethanol |
| --- | --- | --- | --- | --- | --- |
| LTA (Staph. aureus) | 5 mg/mL (hazy) (MilliporeSigma) | Moderate (hazy; comparable to water), qualitative (MilliporeSigma) | Unknown | Unknown | Moderate (MilliporeSigma) |
| MurNAc | ~50 mg/mL (clear) (ChemicalBook) | ~10 mg/mL (Cayman Chemical) | ~30 mg/mL (Cayman Chemical) | ~2.5 mg/mL (Cayman Chemical) | Unknown |
| LPS (E. coli O111:B4) | ~5 mg/mL (hazy; up to ~20 mg/mL with heat) (MilliporeSigma) | Moderate (hazy solutions in PBS; similar to water) (MilliporeSigma) | Poor / Not reported (organic solvents do not yield clearer solutions) (MilliporeSigma) | Unknown | Poor (methanol/ethanol produce turbid suspensions with precipitates) (MilliporeSigma) |

Which Solvent Has the Highest Overall Solubility?
1.MNA, water (50 mg/mL) with DMSO second best (30 mg/mL)
2. LTA, water (~5 mg/mL)

3. LPS, The product is soluble in water (5 mg/ml) or cell culture medium (1 mg/ml) yielding a hazy, faint yellow solution. A more concentrated, though still hazy, solution (20 mg/ml) has been achieved in aqueous saline 
https://www.sigmaaldrich.com/IN/en/product/sigma/l2630?srsltid=AfmBOorVUTxs97OiuvxBzTkCZmy-YZpKLOOOlqftI-ei-2lYZEHvzeoJ&utm=

Best Solvent for Each Biomarker

| Biomarker | Best Solvent /Highest Solubility |
| --- | --- |
| LTA | Water (5 mg/mL) |
| MurNAc | Water (~50 mg/mL) |
| LPS | Water (~5 mg/mL) |

sc