SERS Experiment – Discussion Plan

Biomarkers

- N-Acetylmuramic Acid (100 mg) – Part No.: A3007-100 MG (One hundred MG)

- Lipopolysaccharides from Escherichia coli O111:B4 – Part No.: L2630-10 MG (Ten Mg)

- Lipoteichoic Acid from Staphylococcus aureus – 10 mg (Ten MG) Part No.: L2515-10MG

PHASE 1: Sample & Stock Preparation

Stock Solution Preparation

Goal: Create a reliable reference stock for each biomarker.

- For each biomarker:

  - Weigh a known amount (e.g., 1 mg powder)

  - Dissolve in a known volume of solvent/buffer

  - This defines a primary stock concentration (e.g., mg/mL or µM)

Working Solution & Dilution Series

Goal: Prepare a concentration ladder.

- From the stock, prepare:

  - High concentration

  - Medium concentration

  - Low concentration

- Use serial dilution to cover:

  - Expected detectable range

  - Below-detection range

PHASE 2: Sensor/Substrate Planning

Sensor Usage Plan

Goal: Decide how many substrates/sensors are required.

For each concentration:

- Decide:

  - How many sensors per concentration

  - How many spots per sensor

- This allows:

  - Reproducibility testing

  - Variability estimation

Control Measurements

Goal: Establish baseline and reference.

- Measure:

  - Blank solvent/buffer on sensor

  - Single biomarker samples

- This helps confirm:

  - No false peaks

  - Biomarker-specific signatures

PHASE 3: Spectral Acquisition & Validation
SERS Spectra Collection

Goal: Collect reliable spectra.

- For each biomarker:

  - Measure spectra at each concentration

  - Maintain same acquisition settings

- Collect:

  - Multiple spectra per condition

Peak Verification

Goal: Ensure correct biomarker identification.

- Check:

  - Whether expected characteristic peaks appear

  - Whether peak positions remain stable across concentrations

- Compare:

  - Across concentrations

  - Across sensors

PHASE 4: Sensitivity & Detection Limit Study

Minimum Detectable Concentration (LOD)

Goal: Identify lowest concentration detectable.

- Gradually reduce concentration

- Observe:

  - At what point peaks disappear into noise

- Define:

  - Practical detection limit of the system

Dilution Robustness Study

Goal: Confirm reliability under dilution.

- Verify:

  - Peaks still identifiable at low concentration

  - No false positives

- Check linearity (qualitative at first):

  - Signal trend vs concentration

PHASE 5: Multi-Biomarker Strategy

Individual Biomarker Characterization

Goal: Fully characterize each biomarker separately.

- Establish:

  - Unique spectral fingerprint

  - Non-overlapping key peaks

Mixed Biomarker Experiments

Goal: Test selectivity.

- Prepare mixtures of biomarkers

- Measure:

  - Whether individual biomarker peaks are distinguishable

- This validates:

  - Practical diagnostic relevance

PHASE 6: Data Consolidation & Decision Point

Data Analysis & Documentation

Goal: Convert experiments into clear outcomes.

- Compile:

  - Concentration vs peak presence

  - Detection limits

  - Reproducibility observations

- Identify:

  - Strengths

  - Limitations

Next-Step Decision

Based on results, decide:

- Whether sensitivity is sufficient

- Whether substrate optimization is needed

- Whether protocol refinement is required

1 N-Acetylmuramic Acid (NAM)

(Peptidoglycan monomer – carbohydrate-rich)

| Raman Shift (cm⁻¹) | Assignment |
| --- | --- |
| ~850–900 | C–O–C stretching (glycosidic linkages) |
| ~1040–1060 | C–O stretching (carbohydrate backbone) |
| ~1120–1150 | C–C stretching |
| ~1320–1380 | CH / CH₂ bending |
| ~1640–1660 | Amide I (C=O stretch from acetyl group) |

What you say:

“NAM shows dominant carbohydrate-related peaks, especially strong C–O and glycosidic vibrations.”

2 Lipopolysaccharide (LPS)

(Gram-negative marker – lipid + polysaccharide)

| Raman Shift (cm⁻¹) | Assignment |
| --- | --- |
| ~720–750 | CH₂ rocking (lipid chains) |
| ~1080–1100 | PO₂⁻ symmetric stretch (phosphate groups) |
| ~1300–1350 | CH₂ twisting / wagging |
| ~1440–1460 | CH₂ bending (lipid acyl chains) |
| ~1650–1670 | C=O stretch (lipid A region) |

What you say:

“LPS spectra are dominated by lipid-chain vibrations and phosphate-related modes from lipid A.”

3 Lipoteichoic Acid (LTA)

(Gram-positive marker – glycerophosphate polymer)

| Raman Shift (cm⁻¹) | Assignment |
| --- | --- |
| ~860–900 | C–O–P stretching |
| ~980–1000 | PO₄³⁻ symmetric stretching |
| ~1060–1090 | Phosphate backbone vibrations |
| ~1250–1300 | P=O stretching |
| ~1450 | CH₂ bending |

Why PBS Is Used Biologically (WHY IT IS CORRECT BIOLOGICALLY)

PBS is used with biomarkers like LPS and NAM because:

- It maintains physiological pH (~7.2–7.4)

- It provides ionic strength and osmolarity similar to biological fluids

- It preserves structural stability and solubility of biomolecules

- It prevents aggregation or degradation during handling

Why PBS Is a Problem for SERS
Although biologically suitable, PBS causes spectroscopic issues in SERS:

PBS Has Raman-Active Components

- Phosphate ions produce strong Raman peaks

- These peaks fall in the same fingerprint region (800–1100 cm⁻¹) as:

  - Carbohydrate modes (NAM)

  - Phosphate/lipid modes (LPS)

This causes spectral overlap.

PBS Masks Weak Biomarker Signals

- Biomarkers like NAM and LPS are weak Raman scatterers

- PBS background can:

  - Increase baseline

  - Hide low-intensity characteristic peaks

Peaks may appear, but cannot be confidently assigned.

PBS Affects Molecule–Substrate Interaction

- High ionic strength in PBS can:

  - Reduce effective adsorption of biomarker onto SERS substrate

  - Lower enhancement efficiency

This impacts signal reproducibility.

Why Buffer Subtraction Is Not a Reliable Fix

- PBS and biomarker signals overlap in the same spectral region

- Background does not scale linearly

- Subtraction can distort or remove real biomarker peaks

Identification remains ambiguous.

Primary Choice: Ultrapure Water

What:

- Milli-Q / ultrapure water (18.2 MΩ·cm)

Why this is the first choice:

- Water has very weak Raman background

- No phosphate → no overlap with biomarker peaks

- Allows clear observation of intrinsic Raman/SERS fingerprints

- Best for:

  - Peak identification

  - Detection-limit studies

  - Reproducibility checks

If pH Control Is Required (Second Choice)

What:

- Low-concentration buffer (e.g., 5–10 mM phosphate or volatile buffer)

Why:

- Maintains approximate pH

- Much lower ionic strength than PBS

- Reduced Raman background compared to PBS

Assumption (starting point)

- Biomarker powder = 1 mg

- Solvent = ultrapure water

- Purpose = find minimum detectable concentration using SERS

Step 1: Prepare Primary Stock Solution

This is your reference stock.

- Take 1 mg biomarker

- Dissolve in 1 mL water

👉 Stock concentration = 1 mg/mL

This stock is high concentration, used only as a starting point.

Step 2: Prepare Serial Dilutions (Key for LOD)

We dilute step-by-step by a fixed factor (usually 10×).

Dilution 1 (10⁻¹)

- Take 100 µL of 1 mg/mL stock

- Add 900 µL water

New concentration = 0.1 mg/mL

Dilution 2 (10⁻²)

- Take 100 µL of 0.1 mg/mL

- Add 900 µL water

New concentration = 0.01 mg/mL

Dilution 3 (10⁻³)

- Take 100 µL of 0.01 mg/mL

- Add 900 µL water

New concentration = 0.001 mg/mL

Dilution 4 (10⁻⁴)

- Take 100 µL of 0.001 mg/mL

- Add 900 µL water

New concentration = 0.0001 mg/mL

Step 3: SERS Measurement at Each Concentration

For each dilution:

- Drop-cast same volume (e.g., 5–10 µL) on SERS substrate

- Measure spectra using identical settings

You observe:

- Presence or absence of characteristic peaks

- Signal-to-noise ratio

Step 4: Define Minimum Limit of Detection (LOD)

Definition you can say

“The minimum LOD is the lowest concentration where characteristic biomarker peaks are still clearly distinguishable from noise.”

Example outcome:

- Peaks visible at 0.001 mg/mL

- Peaks disappear at 0.0001 mg/mL

LOD = 0.001 mg/mL

| Dilution | Concentration (mg/mL) | SERS Peaks |
| --- | --- | --- |
| Stock | 1.0 | Strong |
| 10⁻¹ | 0.1 | Clear |
| 10⁻² | 0.01 | Clear |
| 10⁻³ | 0.001 | Weak but identifiable |
| 10⁻⁴ | 0.0001 | Not detectable |