Specific capture probe for NAM 
for 5 paper 

https://pubmed.ncbi.nlm.nih.gov/22086338/
https://www.nature.com/articles/ncomms1546
Functionalized arrays of Raman-enhancing nanoparticles for capture and culture-free analysis of bacteria in human blood

Detecting bacteria in clinical samples without using time-consuming culture processes would allow rapid diagnoses.
It is known that bacteria bind vancomycin (Van) via hydrogen bonds between the peptidoglycan on the bacterial cell wall and the carbonyl and amine groups of Van
coating Ag-nanoparticle arrays with vancomycin (Van) can provide label-free analysis of bacteria
Van-coated magnetic nanoparticles have been employed to capture bacteria

Capture probe

- Vancomycin (Van)

leading to a ~1,000-fold increase in bacteria capture
the ratio increases with increasing Van coverage and reaches a value as high as ~1,000
Surface-enhanced Raman spectroscopy (SERS) has been employed for label-free sensing of bacteria
Bacteria from human blood can be concentrated onto a microscopic Van-coated area
Ag/AAO–SERS substrates consisting of arrays of Ag-nanoparticles
A HeNe laser, emitting at 632.8 nm, served as the excitation source.
The laser beam was focused through a ×50 objective lens.”
“Raman spectra were collected… with a typical acquisition time of 60 s
Laser parameters

| Parameter | Value |
| --- | --- |
| Wavelength | 632.8 nm |
| Laser type | He-Ne |
| Objective | 50× |
| Acquisition | ~60 s |
| Spectral range | 400–1800 cm⁻¹ |

substrates were immersed in the various concentration (100 mM–80 μM) of Van hydrochloride aqueous solution for 1 h
Van coverage… reaches optimal SERS enhancement at ~4 μg cm⁻²
Bacteria from human blood can be concentrated… while blood cells are excluded
the sticking probability of blood cells… is 60 times higher on pristine substrates”
“bacteria… is 300-fold lower on pristine substrates
provides distinctly different SERS spectra of Van-susceptible and Van-resistant Enterococcus
extra peaks appear distinctively on the SERS spectrum of VSE

Development of a Magnetically-Assisted SERS Biosensor for Rapid Bacterial Detection

https://pmc.ncbi.nlm.nih.gov/articles/PMC10799629/

Wheat germ agglutinin (WGA)… binds explicitly to N-acetyl-D-glucosamine and N-acetyl-D-glucosamine derivatives on bacterial surfaces
The AuNSs, modified with WGA as a strong affinity recognition molecule, bind to the peptidoglycan of the bacterial cell wall through strong hydrogen bonding
Gold nanostars (AuNSs) were sequentially modified with the Raman reporter molecules and WGA, creating a versatile SERS tag
Staphylococcus aureus and Pseudomonas aeruginosa antibody-modified Fe₃O₄ magnetic gold nanoparticles (MGNPs) served as the capture probes.
WGA-SERS tags were introduced… AuNSs modified with WGA as a strong affinity recognition molecule
Capture efficiencies of 89.13% and 85.31% were obtained for S. aureus and P. aeruginosa, respectively
Raman measurements were performed using a B&W Tek portable Raman spectrometer
All Raman spectra were integrated for 10 s with 10 mW power.
Raman measurements were performed using a B&W Tek portable Raman spectrometer (i-Raman Plus BWS465-785H) with a 785 nm excitation laser
 Extracted parameters

| Parameter        | Value                |

| ---------------- | -------------------- |

| Raman type       | SERS                 |

| Instrument       | B&W Tek i-Raman Plus |

| Laser wavelength | 785 nm               |

| Laser power      | 10 mW                |

| Integration time | 10 s                 |

| Reporter peak    | 1331 cm⁻¹ (DTNB)     |

The formed MGNPs/bacteria/SERS tag sandwich complexes were magnetically collected… and transferred onto a Si chip for subsequent SERS detection.
AuNSs, with a core size of 65 nm, exhibited superior SERS enhancement
The developed assay achieved a limit of detection (LOD) of 7 CFU/mL for S. aureus and 5 CFU/mL for P. aeruginosa
The bacterial concentration (10–10⁶ CFU/mL) showed a strong linear correlation with the SERS intensity at 1331 cm⁻¹.
High recoveries (84.8%–118.0%) were observed in spiked human urine samples