# Technical SOP: Step-by-Step Blood Sample Collection, Processing & Storage for Future Sepsis Research

## Purpose

This technical document describes the complete operational workflow for collecting blood samples from clinically evaluated patients, processing them into research-grade aliquots, storing them under controlled conditions, and maintaining traceable records for future biomarker, SERS, ELISA, molecular, and AI/ML studies.

# 1. Scope

Applies to all approved personnel involved in:

- Patient screening

- Blood collection

- Sample transport

- Laboratory processing

- Cryostorage

- Data entry

- Sample retrieval

- Quality assurance

# 2. Roles and Responsibilities

## Clinical Team

Identify eligible patients and confirm diagnostic workflow.

## Phlebotomist / Nurse

Perform safe blood draw using aseptic technique.

## Laboratory Technician

Process, aliquot, label, and store samples.

## Data Manager

Maintain tracker, metadata, and secure files.

## Principal Investigator

Oversee compliance, quality, and approvals.

# 3. Required Approvals Before Starting

- Ethics committee approval

- Hospital/department permission

- Biosafety clearance if required

- Consent process approval or waiver

- Data privacy approval

No sample collection should begin before approvals are active.

# 4. Materials and Equipment

## Consumables

- EDTA tubes (purple)

- Serum tubes (red/yellow)

- Needles / vacutainer sets

- Alcohol swabs

- Gauze

- Gloves

- Labels / barcode stickers

- Cryovials (0.5, 1, 2 mL)

- Pipette tips (filtered preferred)

## Equipment

- Refrigerated or standard centrifuge

- Micropipettes

- Refrigerator (2–8°C)

- Freezer (-20°C)

- Ultra-low freezer (-80°C preferred)

- Biosafety cabinet (recommended for higher-risk handling)

- Computer with tracker file

- Temperature logger (preferred)

# 5. Sample Classification Plan

## Group A

Confirmed sepsis positive.

## Group B

Suspected infection but final sepsis negative.

## Group C

Controls if ethically approved.

All groups should be stored because controls are required for future comparison.

# 6. Sample ID Generation

Use coded identifiers only. Examples:

- SEP-0001

- NEG-0001

- CTRL-0001

Rules:

- One patient encounter = one unique ID unless protocol defines serial sampling.

- Never use patient name on research vials.

# 7. Pre-Collection Workflow

## Step 7.1 Verify Eligibility

Confirm patient meets inclusion criteria.

## Step 7.2 Confirm Documentation

- Consent complete if required

- Case entry created in tracker

- Sample ID assigned

## Step 7.3 Prepare Tubes and Labels

Prepare required tubes before draw.

Tube label must include:

- Sample ID

- Date

- Time

- Tube type / fraction

- Initials

Example: SEP-0007 | 24-Apr-26 | 09:40 | EDTA

## Why Important

Pre-labeling reduces identification errors.

# 8. Blood Collection Procedure (Venipuncture)

## Step 8.1 PPE and Hygiene

- Perform hand hygiene

- Wear gloves

- Use additional PPE as needed

## Step 8.2 Site Preparation

- Apply tourniquet

- Select vein

- Clean site with 70% alcohol

- Allow to air dry fully

## Step 8.3 Blood Draw

Using sterile vacutainer system: 1. Insert needle 2. Fill required tube volumes 3. Release tourniquet 4. Remove needle 5. Apply pressure with gauze 6. Bandage patient if needed 7. Dispose needle in sharps container immediately

## Suggested Volumes (adjust by protocol)

- EDTA tube: 3–5 mL

- Serum tube: 3–5 mL

## Critical Notes

- Avoid vigorous shaking

- Avoid prolonged tourniquet time

- Avoid underfilling anticoagulant tubes

# 9. Immediate Post-Collection Handling

## EDTA Tube

Gently invert 8–10 times. Do not shake.

## Serum Tube

Keep upright and allow clotting for 20–30 minutes.

## Record in Tracker

- Exact collection time

- Collector name/initials

- Tube received status

# 10. Transport to Processing Laboratory

## Requirements

- Upright rack

- Leak-proof secondary container

- Minimal delay

## Target Time

Begin processing within 2 hours whenever possible.

## Temporary Holding

2–8°C short delay if needed (do not freeze whole blood for this workflow).

# 11. Sample Reception in Lab

On arrival: 1. Verify label matches tracker 2. Inspect for leakage 3. Inspect for clotting (if EDTA unexpectedly clotted, flag) 4. Inspect for severe hemolysis 5. Record receipt time

If non-conforming, quarantine and flag.

# 12. Plasma Processing from EDTA Blood

## Step 12.1 Balance Centrifuge

Match opposite tube weights.

## Step 12.2 Centrifugation

Recommended starting condition:

- 1500–2000 g

- 10 minutes

(Adapt to instrument SOP.)

## Step 12.3 Layer Identification

After spin:

- Top: Plasma

- Middle: Buffy coat

- Bottom: RBCs

## Step 12.4 Plasma Transfer

Using clean pipette tip:

- Aspirate top plasma layer carefully

- Avoid disturbing buffy coat

- Dispense into labeled cryovials

# 13. Serum Processing

## Step 13.1 Confirm Clot Formation

Allow full clotting before spin.

## Step 13.2 Centrifuge

- 1500–2000 g

- 10 minutes

## Step 13.3 Serum Transfer

Transfer clear supernatant to cryovials without disturbing clot.

# 14. Aliquot Strategy

## Recommended Format

Example for 2 mL recovered plasma:

- 500 µL x 4 aliquots or

- 1 mL x 2 aliquots + reserve

## Why Aliquoting Matters

- Prevents repeat freeze-thaw cycles

- Enables multiple future assays

- Keeps backup stock available

## Label Each Aliquot

SEP-0007-P1 SEP-0007-P2 SEP-0007-P3 SEP-0007-P4

# 15. Storage Conditions

## Immediate Storage

Place aliquots on ice / cold rack during processing.

## Final Storage

- Short-term: -20°C

- Long-term: -80°C preferred

## Rules

- Freeze promptly after aliquoting

- Keep freezer open time minimal

- Return boxes quickly

# 16. Freezer Inventory Management

## Define Map

Freezer > Rack > Shelf > Box > Position

Example: F1 > Rack B > Box 03 > C5

## Tracker Fields

- Aliquot ID

- Sample ID

- Fraction type

- Volume

- Location

- Freeze date

- Freeze-thaw count

# 17. Digital Data Management

## Folder Structure

/Sepsis_Project/ /Clinical_Data/ /Reports/ /Inventory/ /Spectra/ /Analysis/ /Backup/

## File Naming

SEP-0007_report.pdf SEP-0007_metadata.xlsx SEP-0007_spectrum_01.csv

## Security

- Password protect sensitive files

- Limit access

- Backup weekly

# 18. Mandatory Metadata to Capture

## Demographics

- Age

- Sex

## Clinical Context

- ICU/Ward

- Symptoms

- Suspected source of infection

- Antibiotics started (Y/N)

## Lab Parameters

- CRP

- PCT

- Lactate

- WBC

- Culture result

## Outcome

- Final diagnosis

- Recovery / mortality / discharge if approved

# 19. Quality Control Program

## Daily

- Check freezer temperature

- Check alarms/power status

## Weekly

- New entries reconciled

- Labels readable

- Boxes organized

## Monthly

- Random vial audit

- Missing metadata review

- Temperature log review

- Capacity planning

# 20. Rejection / Deviation Criteria

Reject or flag if:

- Wrong label

- Missing ID

- Leaking tube

- Severe hemolysis

- Unknown storage excursion

- Repeated thawing not recorded

- Incomplete critical metadata

Document every deviation.

# 21. Retrieval for Future Experiments

## Procedure

- Select required IDs from tracker

- Retrieve only needed aliquots

- Record checkout time

- Thaw one aliquot only

- Update freeze-thaw count

- Return unused stock immediately

# 22. Future Use Cases

Stored samples may support:

- SERS chip validation

- ELISA comparison

- Multiplex biomarker testing

- Raman spectral libraries

- AI/ML classifiers

- Longitudinal analysis (if serial samples collected)

# 23. Common Failure Modes and Prevention

## Hemolysis

Cause: rough draw / shaking Prevention: gentle handling

## Mislabeling

Cause: manual error Prevention: pre-printed labels + double check

## Biomarker Degradation

Cause: delay/warm storage Prevention: rapid processing + freezing

## Lost Samples

Cause: poor inventory Prevention: freezer mapping

## Data Uselessness

Cause: no diagnosis labels Prevention: mandatory metadata fields

# 24. Initial Operational Targets (First 6 Months)

- 50 sepsis positive cases

- 50 negative suspected cases

- 30 controls

- 90% complete metadata

- <5% rejected samples

# 25. Final Outcome

A robust, reusable, research-grade sepsis sample repository enabling rapid future experiments without restarting sample collection from zero.