| No. | Biomarker | Technique | Limit of Detection | Range of Detection | Application | Year of Publication | Citation |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | NAM | Gas Chromatography–Mass Spectrometry (GC–MS) | ~10 ng per sample (reported detection limit) | 10 ng – ≥10² ng per sample | Detection of circulating bacterial cell wall peptidoglycan fragments in human peripheral blood leucocytes; assessment of age-dependent systemic exposure to bacterial products | 1997 | 1 |
| 2 | NAM | Gas Chromatography–Tandem Mass Spectrometry | ≈ 30 ng/mL | ≥ 30 ng/mL (detectable in septic synovial fluid; absent in aseptic fluid) | Absolute identification of bacterial peptidoglycan in human septic synovial fluids; discrimination between septic and aseptic arthritis | 1996 |  |
| 3 | N-Acetylmuramic Acid | Gas Chromatography–Mass Spectrometry | ≈ 250 ng/mL | <250 – 1,700 ng/mL in septic synovial fluid | Quantitative detection of bacterial peptidoglycan debris in septic synovial fluid; positive control for septic vs reactive/rheumatoid arthritis studies | 1989 |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |

- Lehtonen L, Eerola E, Toivanen P. Muramic acid in human peripheral blood leucocytes in different age groups. European Journal of Clinical Investigation 27(9):791–792. doi:10.1046/j.1365-2362.1997.1950732.x https://onlinelibrary.wiley.com/doi/epdf/10.1046/j.1365-2362.1997.1950732.x

- Fox A, Fox K, Christensson B, Harrelson D, Krahmer M. Absolute identification of muramic acid, at trace levels, in human septic synovial fluids in vivo and absence in aseptic fluids. Infection and Immunity 64(9):3911–3915. https://doi.org/10.1128/iai.64.9.3911-3915.1996  https://journals.asm.org/doi/10.1128/iai.64.9.3911-3915.1996

- hristensson B, Gilbart J, Fox A, Morgan SL. Mass spectrometric quantitation of muramic acid, a bacterial cell wall component, in septic synovial fluids. Arthritis & Rheumatism 32(10):1268–1272 (1989). https://sci-hub.hlgczx.com/10.1002/anr.1780321012

| No. | Biomarker | Technique | Limit of Detection | Range of Detection | Application | Year of Publication | Citation |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Lipopolysaccharide (LPS) | Limulus Amebocyte Lysate (LAL) assay | 0.01 EU/mL | 0.01 – 1.0 EU/mL | Quantitative detection of Gram-negative endotoxemia in blood, plasma, pharmaceuticals | 2022 | 1 |
| 2 | Lipopolysaccharide (LPS) | Endotoxin Activity Assay (EAA) | ≈ 0.03 EU/mL | 0 – 1.0 EU/mL (reported clinically relevant thresholds: <0.4 low, 0.4–0.6 intermediate, ≥0.6 high) | Rapid whole-blood quantification of endotoxemia in sepsis and septic shock | 2022 | 1 |
| 3 | Lipopolysaccharide (LPS) | HPLC–MS/MS (often combined with LAL) | ~1–10 ng/mL | ~1 – 1,000 ng/mL | Absolute quantification and structural analysis of circulating LPS | 2022 | 1 |
| 4 | Lipopolysaccharide (LPS) | Limulus Amebocyte Lysate (LAL) assay | ≈ 0.05–0.1 ng/mL (E. coli LPS sensitivity) | ≥ 0.05 ng/mL | Verification that experimental reagents and media were endotoxin-free in neutrophil (PMNL) functional studies in HIV-infected patients | 1999 | 2 |
| 5 | Endotoxin (Lipopolysaccharide, LPS) | Endotoxin Activity Assay (EAA) | ≈ 50 pg/mL | 50 – >800 pg/mL (measured in ICU patients; spiking experiments validated 100, 400, 800 pg/mL) | Rapid detection of endotoxaemia in critically ill patients; association with Gram-negative infection, sepsis, and leukocytosis | 2002 | 3 |

- Virzì GM et al. Endotoxin in Sepsis: Methods for LPS Detection and the Use of Omics Techniques. Diagnostics (Basel) 13(1):79. doi:10.3390/diagnostics13010079 https://pmc.ncbi.nlm.nih.gov/articles/PMC9818564/

- Monari C, Casadevall A, Pietrella D, Bistoni F, Vecchiarelli A. Neutrophils from patients with advanced human immunodeficiency virus infection have impaired complement receptor function and preserved Fcγ receptor function. The Journal of Infectious Diseases 180(5):1542–1549. https://doi.org/10.1086/315099 https://academic.oup.com/jid/article/180/5/1542/804831?login=true

- Marshall JC, Walker PM, Foster DM, et al. Measurement of endotoxin activity in critically ill patients using whole blood neutrophil dependent chemiluminescence. Critical Care 6:342 (2002).  https://link.springer.com/article/10.1186/cc1522